## Rack 1 Slot 0
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 0 | 0 | RTD | SL3-BC-M1-TE1 | Shiploader 3 Boom Conveyor Motor 1 Phase A Winding Temperature RTD 1
1 | 0 | 1 | RTD | SL3-BC-M1-TE2 | Shiploader 3 Boom Conveyor Motor 1 Phase A Winding Temperature RTD 2
1 | 0 | 2 | RTD | SL3-BC-M1-TE3 | Shiploader 3 Boom Conveyor Motor 1 Phase B Winding Temperature RTD 1
1 | 0 | 3 | RTD | SL3-BC-M1-TE4 | Shiploader 3 Boom Conveyor Motor 1 Phase B Winding Temperature RTD 2
1 | 0 | 4 | RTD | SL3-BC-M1-TE5 | Shiploader 3 Boom Conveyor Motor 1 Phase C Winding Temperature RTD 1
1 | 0 | 5 | RTD | SL3-BC-M1-TE6 | Shiploader 3 Boom Conveyor Motor 1 Phase C Winding Temperature RTD 2
1 | 0 | 6 | RTD | SL3-BC-M1-TE7 | Shiploader 3 Boom Conveyor Motor 1 Drive End Bearing Temperature RTD 1
1 | 0 | 7 | RTD | SL3-BC-M1-TE8 | Shiploader 3 Boom Conveyor Motor 1 Non Drive End Bearing Temperature RTD 1

## Rack 1 Slot 1
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 1 | 0 | AI | SL3-BC-HPU1-ZT1 | Shiploader 3 Boom Conveyor Take-Up Left Cylinder Temposonic
1 | 1 | 1 | AI | SL3-BC-HPU1-ZT2 | Shiploader 3 Boom Conveyor Take-Up Right Cylinder Temposonic
1 | 1 | 2 | AI | SPARE
1 | 1 | 3 | AI | SPARE
1 | 1 | 4 | AI | SPARE
1 | 1 | 5 | AI | SPARE
1 | 1 | 6 | AI | SPARE
1 | 1 | 7 | AI | SPARE

## Rack 1 Slot 2
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 2 | 0 | AO | SPARE
1 | 2 | 1 | AO | SPARE
1 | 2 | 2 | AO | SPARE
1 | 2 | 3 | AO | SPARE
1 | 2 | 4 | AO | SPARE
1 | 2 | 5 | AO | SPARE
1 | 2 | 6 | AO | SPARE
1 | 2 | 7 | AO | SPARE

## Rack 1 Slot 3
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 3 | 0 | AI | SL3-MEH-TIT1 | Shiploader 3 Machine E-House Temperature Transmitter
1 | 3 | 1 | AI | SL3-PD-PIT01 | Shiploader 3 Pivot Deck Washdown Pressure Transducer Supply pressure
1 | 3 | 2 | AI | SL3-WD-PIT01 | Shiploader 3 Belt Washbox Pressure Transducer Air supply
1 | 3 | 3 | AI | SPARE
1 | 3 | 4 | AI | SL3-BC-GB1-TT1 | Shiploader 3 Boom Conveyor Gearbox Oil Temperature Transmitter
1 | 3 | 5 | AI | SL3-BC-TT1 | Shiploader 3 Boom Conveyor Driven Pulley Left Side Bearing Temperature Transmitter
1 | 3 | 6 | AI | SL3-BC-TT2 | Shiploader 3 Boom Conveyor Driven Pulley Right Side Bearing Temperature Transmitter
1 | 3 | 7 | AI | SPARE

## Rack 1 Slot 4
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 4 | 0 | AI | SL3-BC-HPU1-LT1 | Shiploader 3 Boom Conveyor Take-Up HPU Oil Level Transmitter
1 | 4 | 1 | AI | SL3-BC-HPU1-TT1 | Shiploader 3 Boom Conveyor Take-Up HPU Oil Temperature Transmitter
1 | 4 | 2 | AI | SL3-BC-HPU1-PIT1 | Shiploader 3 Boom Conveyor Take-Up HPU Accumulator Pressure Transmitter
1 | 4 | 3 | AI | SL3-BC-HPU1-PT2 | Shiploader 3 Boom Conveyor Take-Up HPU Take-Up Cylinder Pressure Transmitter
1 | 4 | 4 | AI | SL3-LU1-LIT1 | Shiploader 3 Slew Lube Unit 1 Level Transmitter
1 | 4 | 5 | AI | SPARE
1 | 4 | 6 | AI | SPARE
1 | 4 | 7 | AI | SPARE

## Rack 1 Slot 5
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 5 | 0 | DI | SL3-BC-HPU1-OS1 | Shiploader 3 Boom Conveyor Take-Up HPU Oil in Tray Switch
1 | 5 | 1 | DI | SPARE
1 | 5 | 2 | DI | SPARE
1 | 5 | 3 | DI | SPARE
1 | 5 | 4 | DI | SPARE
1 | 5 | 5 | DI | SPARE
1 | 5 | 6 | DI | SPARE
1 | 5 | 7 | DI | SPARE
1 | 5 | 8 | DI | SPARE
1 | 5 | 9 | DI | SPARE
1 | 5 | 10 | DI | SPARE
1 | 5 | 11 | DI | SPARE
1 | 5 | 12 | DI | SPARE
1 | 5 | 13 | DI | SPARE
1 | 5 | 14 | DI | SPARE
1 | 5 | 15 | DI | SPARE

## Rack 1 Slot 6
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 6 | 0 | DI | SL3-MEH-HVAC1-R4A | Shiploader 3 Machine E-House HVAC Unit 1 Power On Relay
1 | 6 | 1 | DI | SL3-MEH-HVAC1-R4B | Shiploader 3 Machine E-House HVAC Unit 1 Cooling 1 Alarm Lockout Relay 1
1 | 6 | 2 | DI | SL3-MEH-HVAC1-R4C | Shiploader 3 Machine E-House HVAC Unit 1 Cooling 2 Alarm Lockout Relay 2
1 | 6 | 3 | DI | SL3-MEH-HVAC2-R5A | Shiploader 3 Machine E-House HVAC Unit 2 Power On Relay
1 | 6 | 4 | DI | SL3-MEH-HVAC2-R5B | Shiploader 3 Machine E-House HVAC Unit 2 Cooling 1 Alarm Lockout Relay 1
1 | 6 | 5 | DI | SL3-MEH-HVAC2-R5C | Shiploader 3 Machine E-House HVAC Unit 2 Cooling 2 Alarm Lockout Relay 2
1 | 6 | 6 | DI | SL3-MEH-PPU1-LCP1-BR | Shiploader 3 Machine E-House Pressurization Unit 1 Blower Running BR Relay Status
1 | 6 | 7 | DI | SPARE
1 | 6 | 8 | DI | SL3-MEH-NCP1-UPS1 | Shiploader 3 Machine E-House Network Control Panel UPS1 Relay Out UPS OK Status
1 | 6 | 9 | DI | SL3-MEH-NCP1-UPS2 | Shiploader 3 Machine E-House Network Control Panel UPS2 Relay Out UPS OK Status
1 | 6 | 10 | DI | SL3-MEH-NCP1-UPS3 | Shiploader 3 Machine E-House Network Control Panel UPS3 Relay Out UPS OK Status
1 | 6 | 11 | DI | SL3-MEH-FCP1-CR0 | Shiploader 3 Machine E-House Fire Alarm Panel Fire Alarm
1 | 6 | 12 | DI | SL3-MEH-FCP1-CR1 | Shiploader 3 Machine E-House Fire Alarm Panel System Trouble
1 | 6 | 13 | DI | SL3-MEH-FCP1-CR2 | Shiploader 3 Machine E-House Fire Alarm Panel System Supervisory
1 | 6 | 14 | DI | SPARE
1 | 6 | 15 | DI | SPARE

## Rack 1 Slot 7
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 7 | 0 | DI | SL3-BCB-ZLS1 | Shiploader 3 Boom Conveyor Bridge Left Side, Tail End Misalignment Switch
1 | 7 | 1 | DI | SL3-BCB-ZLS2 | Shiploader 3 Boom Conveyor Bridge Right Side, Tail End Misalignment Switch
1 | 7 | 2 | DI | SL3-BCB-ZLS3 | Shiploader 3 Boom Conveyor Bridge Left Side, Head End Misalignment Switch
1 | 7 | 3 | DI | SL3-BCB-ZLS4 | Shiploader 3 Boom Conveyor Bridge Right Side, Head End Misalignment Switch
1 | 7 | 4 | DI | SL3-BC-BK1-ZPX1 | Shiploader 3 Boom Conveyor Brake 1 Released Proximity Switch
1 | 7 | 5 | DI | SL3-BC-BK1-ZPX2 | Shiploader 3 Boom Conveyor Brake 1 Wear Monitoring Proximity Switch
1 | 7 | 6 | DI | SPARE
1 | 7 | 7 | DI | SPARE
1 | 7 | 8 | DI | SL3-BCB-LSHH1 | Shiploader 3 Boom Conveyor Bridge Incoming Chute Plugged Chute Tilt Switch
1 | 7 | 9 | DI | SL3-BC-LCS1-PBL1A | Shiploader 3 Boom Conveyor Brake Jog Open Push Button
1 | 7 | 10 | DI | SL3-BC-LCS1-PB2 | Shiploader 3 Boom Conveyor Jog Push Button
1 | 7 | 11 | DI | SPARE
1 | 7 | 12 | DI | SL3-LU1-LCS1-PBL1A | Shiploader 3 Slew Lubrication Unit 1 Lube Pump Jog Push Button
1 | 7 | 13 | DI | SL3-LU1-LCS1-PB1 | Shiploader 3 Slew Lubrication Unit 1 Lube Pump Cycle A Push Button
1 | 7 | 14 | DI | SL3-LU1-LCS1-PB2 | Shiploader 3 Slew Lubrication Unit 1 Lube Pump Cycle B Push Button
1 | 7 | 15 | DI | SPARE

## Rack 1 Slot 8
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 8 | 0 | DI | SL3-BC-HPU1-LCS1-PBL1A | Shiploader 3 Boom Conveyor Take-Up HPU LCS Start HPU Motor Push Button
1 | 8 | 1 | DI | SL3-BC-HPU1-LCS1-PB2 | Shiploader 3 Boom Conveyor Take-Up HPU LCS Stop HPU Motor Push Button
1 | 8 | 2 | DI | SL3-BC-HPU1-LCS1-PB3 | Shiploader 3 Boom Conveyor Take-Up HPU LCS Take-Up Cylinders Extend Push Button
1 | 8 | 3 | DI | SL3-BC-HPU1-LCS1-PB4 | Shiploader 3 Boom Conveyor Take-Up HPU LCS Take-Up Cylinders Retract Push Button
1 | 8 | 4 | DI | SL3-BC-HPU1-LCS1-PB5 | Shiploader 3 Boom Conveyor Take-Up HPU LCS Cassette Cylinders Extend Push Button
1 | 8 | 5 | DI | SL3-BC-HPU1-LCS1-PB6 | Shiploader 3 Boom Conveyor Take-Up HPU LCS Cassette Cylinders Retract Push Button
1 | 8 | 6 | DI | SL3-BC-HPU1-LCS1-PB7 | Shiploader 3 Boom Conveyor Take-Up HPU LCS Cut-off Gate Cyl. Extend Push Button
1 | 8 | 7 | DI | SL3-BC-HPU1-LCS1-PB8 | Shiploader 3 Boom Conveyor Take-Up HPU LCS Cut-off Gate Cyl. Retract Push Button
1 | 8 | 8 | DI | SL3-BC-HPU1-LSL1 | Shiploader 3 Boom Conveyor Take-Up HPU Low Oil Warning Level Switch
1 | 8 | 9 | DI | SL3-BC-HPU1-LSLL1 | Shiploader 3 Boom Conveyor Take-Up HPU Low Low Oil Shutdown Level Switch
1 | 8 | 10 | DI | SL3-BC-HPU1-PSH1 | Shiploader 3 Boom Conveyor Take-Up HPU Pressure Filter Plugged Switch
1 | 8 | 11 | DI | SL3-BC-HPU1-PSH2 | Shiploader 3 Boom Conveyor Take-Up HPU Return Filter Plugged Switch
1 | 8 | 12 | DI | SL3-BC-HPU1-S1 | Shiploader 3 Boom Conveyor Take-Up HPU Suction Valve Open Switch
1 | 8 | 13 | DI | SL3-BCB-G-ZPX1 | Shiploader 3 Boom Conveyor Bridge Safety Gate Status Near E-house Proximity Switch
1 | 8 | 14 | DI | SPARE
1 | 8 | 15 | DI | SPARE

## Rack 1 Slot 9
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 9 | 0 | DI | SL3-PD-FS01 | Shiploader 3 Pivot Deck Washdown Flow Switch Supply
1 | 9 | 1 | DI | SL3-PD-BV01 | Shiploader 3 Pivot Deck Washdown Ball Valve Normally Open Manual Bypass
1 | 9 | 2 | DI | SL3-PD-BV02 | Shiploader 3 Pivot Deck Washdown Ball Valve Normally Open Manual Bypass
1 | 9 | 3 | DI | SL3-PD-BV03 | Shiploader 3 Pivot Deck Washdown Ball Valve Normally Close Manual Bypass
1 | 9 | 4 | DI | SL3-BR-BV04 | Shiploader 3 Bridge Washdown Ball Valve Normally Open Supply to Bridge
1 | 9 | 5 | DI | SPARE
1 | 9 | 6 | DI | SPARE
1 | 9 | 7 | DI | SPARE
1 | 9 | 8 | DI | SPARE
1 | 9 | 9 | DI | SPARE
1 | 9 | 10 | DI | SPARE
1 | 9 | 11 | DI | SPARE
1 | 9 | 12 | DI | SPARE
1 | 9 | 13 | DI | SPARE
1 | 9 | 14 | DI | SPARE
1 | 9 | 15 | DI | SPARE

## Rack 1 Slot 10
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 10 | 0 | DI | SPARE
1 | 10 | 1 | DI | SPARE
1 | 10 | 2 | DI | SPARE
1 | 10 | 3 | DI | SPARE
1 | 10 | 4 | DI | SPARE
1 | 10 | 5 | DI | SPARE
1 | 10 | 6 | DI | SPARE
1 | 10 | 7 | DI | SPARE
1 | 10 | 8 | DI | SPARE
1 | 10 | 9 | DI | SPARE
1 | 10 | 10 | DI | SPARE
1 | 10 | 11 | DI | SPARE
1 | 10 | 12 | DI | SPARE
1 | 10 | 13 | DI | SPARE
1 | 10 | 14 | DI | SPARE
1 | 10 | 15 | DI | SPARE

## Rack 1 Slot 11
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 11 | 0 | DI | SPARE
1 | 11 | 1 | DI | SPARE
1 | 11 | 2 | DI | SPARE
1 | 11 | 3 | DI | SPARE
1 | 11 | 4 | DI | SPARE
1 | 11 | 5 | DI | SPARE
1 | 11 | 6 | DI | SPARE
1 | 11 | 7 | DI | SPARE
1 | 11 | 8 | DI | SPARE
1 | 11 | 9 | DI | SPARE
1 | 11 | 10 | DI | SPARE
1 | 11 | 11 | DI | SPARE
1 | 11 | 12 | DI | SPARE
1 | 11 | 13 | DI | SPARE
1 | 11 | 14 | DI | SPARE
1 | 11 | 15 | DI | SPARE

## Rack 1 Slot 12
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 12 | 0 | DO | SL3-MEH-HVAC1-G | Machine E-House HVAC Unit 1 Evaporator Fan Contactor
1 | 12 | 1 | DO | SL3-MEH-HVAC1-Y1 | Machine E-House HVAC Unit 1 Compressor 1 Contactor Stage 1 Cooling
1 | 12 | 2 | DO | SL3-MEH-HVAC1-Y2 | Machine E-House HVAC Unit 1 Compressor 2 Contactor Stage 2 Cooling
1 | 12 | 3 | DO | SL3-MEH-HVAC1-W1 | Machine E-House HVAC Unit 1 Heat Contactor Heating
1 | 12 | 4 | DO | SL3-MEH-HVAC2-G | Machine E-House HVAC Unit 2 Evaporator Fan Contactor
1 | 12 | 5 | DO | SL3-MEH-HVAC2-Y1 | Machine E-House HVAC Unit 2 Compressor 1 Contactor Stage 1 Cooling
1 | 12 | 6 | DO | SL3-MEH-HVAC2-Y2 | Machine E-House HVAC Unit 2 Compressor 2 Contactor Stage 2 Cooling
1 | 12 | 7 | DO | SL3-MEH-HVAC2-W1 | Machine E-House HVAC Unit 2 Heat Contactor Heating
1 | 12 | 8 | DO | SL3-MEH-PPU1-LCP1-CR | Shiploader 3 Machine E-House Pressurization Unit 1 Blower Remote Start CR Control Relay
1 | 12 | 9 | DO | SL3-LU1-SV1 | Shiploader 3 Slew Lube Unit 1 Line A Solenoid Valve
1 | 12 | 10 | DO | SL3-LU1-SV2 | Shiploader 3 Slew Lube Unit 1 Line B Solenoid Valve
1 | 12 | 11 | DO | SL3-LU1-SV3 | Shiploader 3 Slew Lube Unit 1 Refill Solenoid Valve
1 | 12 | 12 | DO | SL3-LU1-LCS1-PL1 | Shiploader 3 Slew Lubrication Unit 1 Maintenance Mode Active Pilot Light
1 | 12 | 13 | DO | SL3-BC-LU1-LCS1-PBL1B | Shiploader 3 Slew Lubrication Unit 1 Lube Pump Jog Pilot Light
1 | 12 | 14 | DO | SL3-BC-LCS1-PL1 | Shiploader 3 Boom Conveyor Maintenance Mode Active Pilot Light
1 | 12 | 15 | DO | SL3-BC-LCS1-PBL1B | Shiploader 3 Boom Conveyor Brake Jog Open Pilot Light

## Rack 1 Slot 13
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 13 | 0 | DO | SL3-BC-HPU1-SV1B | Shiploader 3 Boom Conveyor Take-Up HPU Unloader Solenoid Valve
1 | 13 | 1 | DO | SL3-BC-HPU1-SV2A | Shiploader 3 Boom Conveyor Cassette Cylinders Extend Solenoid Valve
1 | 13 | 2 | DO | SL3-BC-HPU1-SV2B | Shiploader 3 Boom Conveyor Cassette Cylinders Retract Solenoid Valve
1 | 13 | 3 | DO | SL3-BC-HPU1-SV3A | Shiploader 3 Boom Conveyor Cut-off Gate Cylinders Extend Solenoid Valve
1 | 13 | 4 | DO | SL3-BC-HPU1-SV3B | Shiploader 3 Boom Conveyor Cut-off Gate Cylinders Retract Solenoid Valve
1 | 13 | 5 | DO | SL3-BC-HPU1-SV4A | Shiploader 3 Boom Conveyor Take-Up Cylinders Extend Solenoid Valve
1 | 13 | 6 | DO | SL3-BC-HPU1-SV4B | Shiploader 3 Boom Conveyor Take-Up Cylinders Retract Solenoid Valve
1 | 13 | 7 | DO | SL3-BC-HPU1-SV5 | Shiploader 3 Boom Conveyor Take-Up HPU Accumulator Dump Solenoid Valve
1 | 13 | 8 | DO | SL3-BC-HPU1-LCS1-PBL1B | Shiploader 3 Boom Conveyor Take-Up HPU LCS Start HPU Motor Pilot Light
1 | 13 | 9 | DO | SL3-BC-HPU1-LCS1-PL1 | Shiploader 3 Boom Conveyor Take-Up HPU LCS Maintenance Mode Pilot Light
1 | 13 | 10 | DO | SL3-BC-HPU1-LCS1-PL2 | Shiploader 3 Boom Conveyor Take-Up HPU LCS Tension Ok Pilot Light
1 | 13 | 11 | DO | SL3-BC-HPU1-LCS1-PL3 | Shiploader 3 Boom Conveyor Take-Up HPU LCS Tension High Pilot Light
1 | 13 | 12 | DO | SL3-BCB-YA1 | Shiploader 3 Boom Conveyor Left Side Start Warning Horn
1 | 13 | 13 | DO | SL3-BCB-YL1 | Shiploader 3 Boom Conveyor Bridge Left Side Start Warning Light
1 | 13 | 14 | DO | SL3-BCB-YL2 | Shiploader 3 Boom Conveyor Bridge Right Side Start Warning Light
1 | 13 | 15 | DO | SL3-BC-HPU1-HE1 | Shiploader 3 Boom Conveyor Take-Up HPU Immersion Oil Heater

## Rack 1 Slot 14
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 14 | 0 | DO | SL3-PD-SV021 | Shiploader 3 Pivot Deck Washdown Solenoid System Drain Valve
1 | 14 | 1 | DO | SL3-PD-MOV01 | Shiploader 3 Pivot Deck Washdown Motorized Drain Valve System Drain Valve
1 | 14 | 2 | DO | SL3-WD-SV22 | Shiploader 3 Belt Washbox Solenoid Flush Washout
1 | 14 | 3 | DO | SL3-WD-SV23 | Shiploader 3 Belt Washbox Solenoid Belt wash box supply
1 | 14 | 4 | DO | SL3-WD-SV01 | Shiploader 3 Belt Washbox Air Tensioner Ssolenoid valve (3 Way)
1 | 14 | 5 | DO | SPARE
1 | 14 | 6 | DO | SL3-BR-SV01 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-X
1 | 14 | 7 | DO | SL3-BR-SV02 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-X
1 | 14 | 8 | DO | SL3-BR-SV03 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-Y
1 | 14 | 9 | DO | SL3-BR-SV04 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-X, 1-W
1 | 14 | 10 | DO | SL3-BR-SV05 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-X, 1-W
1 | 14 | 11 | DO | SL3-BR-SV06 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-X, 1-W
1 | 14 | 12 | DO | SL3-BR-SV07 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-W, 1-V
1 | 14 | 13 | DO | SL3-BR-SV08 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-W, 1-V
1 | 14 | 14 | DO | SL3-BR-SV09 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-V, 1-U
1 | 14 | 15 | DO | SL3-BR-SV10 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-V, 1-U

## Rack 1 Slot 15
Rack | Slot | IO Point | Column H | Column K | Column Q
1 | 15 | 0 | DO | SL3-BR-SV11 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-U, 1-T
1 | 15 | 1 | DO | SL3-BR-SV12 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-U, 1-T
1 | 15 | 2 | DO | SL3-BR-SV13 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-T, 1-S
1 | 15 | 3 | DO | SL3-BR-SV14 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-T, 1-S
1 | 15 | 4 | DO | SL3-BR-SV15 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-S, 1-R
1 | 15 | 5 | DO | SL3-BR-SV16 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-S, 1-R
1 | 15 | 6 | DO | SL3-BR-SV17 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-R, 1-Q
1 | 15 | 7 | DO | SL3-BR-SV18 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-R, 1-Q
1 | 15 | 8 | DO | SL3-BR-SV19 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-Q
1 | 15 | 9 | DO | SL3-BR-SV20 | Shiploader 3 Bridge Washdown Nozzle Spray Zone 1-P
1 | 15 | 10 | DO | SPARE
1 | 15 | 11 | DO | SPARE
1 | 15 | 12 | DO | SPARE
1 | 15 | 13 | DO | SPARE
1 | 15 | 14 | DO | SPARE
1 | 15 | 15 | DO | SPARE

## Rack 2 Slot 1
Rack | Slot | IO Point | Column H | Column K | Column Q
2 | 1 | 0 | SDI | SL3-BH-M1-VFD-SI | Shiploader 3 Boom Hoist Motor 1 VFD Safety Stop Input
2 | 1 | 1 | SDI | SL3-BH-M2-VFD-SI | Shiploader 3 Boom Hoist Motor 2 VFD Safety Stop Input
2 | 1 | 2 | SDI | SPARE
2 | 1 | 3 | SDI | SPARE
2 | 1 | 4 | SDI | SPARE
2 | 1 | 5 | SDI | SPARE
2 | 1 | 6 | SDI | SPARE
2 | 1 | 7 | SDI | SPARE

## Rack 2 Slot 2
Rack | Slot | IO Point | Column H | Column K | Column Q
2 | 2 | 0 | SDI | SL3-MEH-ES1 | Shiploader 3 Machine E-House Emergency Stop Push Button 1
2 | 2 | 1 | SDI | SL3-BCB-ES1 | Shiploader 3 Boom Conveyor Bridge Left Side, Tail End Emergency Stop Push Button
2 | 2 | 2 | SDI | SL3-BCB-ES2 | Shiploader 3 Boom Conveyor Bridge Right Side, Tail End Emergency Stop Push Button
2 | 2 | 3 | SDI | SL3-BCB-ES3
2 | 2 | 4 | SDI | SL3-BCB-PC1 | Shiploader 3 Boom Conveyor Bridge Left Side, Tail End Emergency Stop Pull Cord
2 | 2 | 5 | SDI | SL3-BCB-PC2 | Shiploader 3 Boom Conveyor Bridge Right Side, Tail End Emergency Stop Pull Cord
2 | 2 | 6 | SDI | SL3-BCB-PC3 | Shiploader 3 Boom Conveyor Bridge Left Side, Head End Emergency Stop Pull Cord
2 | 2 | 7 | SDI | SL3-BCB-PC4 | Shiploader 3 Boom Conveyor Bridge Right Side, Head End Emergency Stop Pull Cord

## Rack 2 Slot 3
Rack | Slot | IO Point | Column H | Column K | Column Q
2 | 3 | 0 | SDI | SL3-MEH-ACP1-ESR1-F | Shiploader 3 Machine E-House ACP1 Boom Hoist Safety Stop ESR1 Relay Feedback
2 | 3 | 1 | SDI | SL3-MEH-ACP1-ESR2-F | Shiploader 3 Machine E-House ACP1 Boom Hoist Safety Stop ESR2 Relay Feedback
2 | 3 | 2 | SDI | SL3-MEH-ACP1-ESR3-F | Shiploader 3 Machine E-House ACP1 Boom Conveyor Safety Stop ESR3 Relay Feedback
2 | 3 | 3 | SDI | SL3-MEH-ACP1-ESR4-F | Shiploader 3 Machine E-House ACP1 Boom Conveyor Safety Stop ESR4 Relay Feedback
2 | 3 | 4 | SDI | SL3-MEH-ACP1-ESR5-F | Shiploader 3 Machine E-House ACP1 Slew Safety Stop ESR5 Relay Feedback
2 | 3 | 5 | SDI | SL3-MEH-ACP1-ESR6-F | Shiploader 3 Machine E-House ACP1 Slew Safety Stop ESR6 Relay Feedback
2 | 3 | 6 | SDI | SL3-MEH-ACP1-ESR7-F | Shiploader 3 Machine E-House ACP1 Slew Safety Stop ESR7 Relay Feedback
2 | 3 | 7 | SDI | SL3-MEH-ACP1-ESR8-F | Shiploader 3 Machine E-House ACP1 Shuttle Safety Stop ESR8 Relay Feedback

## Rack 2 Slot 4
Rack | Slot | IO Point | Column H | Column K | Column Q
2 | 4 | 0 | SDI | SL3-MEH-ACP1-ESR9-F | Shiploader 3 Machine E-House ACP1 Shuttle Safety Stop ESR9 Relay Feedback
2 | 4 | 1 | SDI | SL3-MEH-ACP1-ESR10-F | Shiploader 3 Machine E-House ACP1 Spout Safety Stop ESR10 Relay Feedback
2 | 4 | 2 | SDI | SPARE
2 | 4 | 3 | SDI | SPARE
2 | 4 | 4 | SDI | SPARE
2 | 4 | 5 | SDI | SPARE
2 | 4 | 6 | SDI | SPARE
2 | 4 | 7 | SDI | SPARE

## Rack 2 Slot 5
Rack | Slot | IO Point | Column H | Column K | Column Q
2 | 5 | 0 | SDO | SL3-BH-M1-VFD-SO | Shiploader 3 Boom Hoist Motor 1 VFD Safety Stop Output
2 | 5 | 1 | SDO | SL3-BH-M2-VFD-SO | Shiploader 3 Boom Hoist Motor 2 VFD Safety Stop Output
2 | 5 | 2 | SDO | SL3-MEH-ACP1-ESR1 | Shiploader 3 Machine E-House ACP1 Boom Hoist Safety Stop ESR1 Relay
2 | 5 | 3 | SDO | SL3-MEH-ACP1-ESR2 | Shiploader 3 Machine E-House ACP1 Boom Hoist Safety Stop ESR2 Relay
2 | 5 | 4 | SDO | SPARE
2 | 5 | 5 | SDO | SPARE
2 | 5 | 6 | SDO | SPARE
2 | 5 | 7 | SDO | SPARE

## Rack 2 Slot 6
Rack | Slot | IO Point | Column H | Column K | Column Q
2 | 6 | 0 | SDO | SL3-MEH-ACP1-ESR3 | Shiploader 3 Machine E-House ACP1 Boom Conveyor Safety Stop ESR3 Relay
2 | 6 | 1 | SDO | SL3-MEH-ACP1-ESR4 | Shiploader 3 Machine E-House ACP1 Boom Conveyor Safety Stop ESR4 Relay
2 | 6 | 2 | SDO | SPARE
2 | 6 | 3 | SDO | SPARE
2 | 6 | 4 | SDO | SPARE
2 | 6 | 5 | SDO | SPARE
2 | 6 | 6 | SDO | SPARE
2 | 6 | 7 | SDO | SPARE

## Rack 2 Slot 7
Rack | Slot | IO Point | Column H | Column K | Column Q
2 | 7 | 0 | SDO | SL3-MEH-ACP1-ESR5 | Shiploader 3 Machine E-House ACP1 Slew Safety Stop ESR5 Relay
2 | 7 | 1 | SDO | SL3-MEH-ACP1-ESR6 | Shiploader 3 Machine E-House ACP1 Slew Safety Stop ESR6 Relay
2 | 7 | 2 | SDO | SL3-MEH-ACP1-ESR7 | Shiploader 3 Machine E-House ACP1 Slew Safety Stop ESR7 Relay
2 | 7 | 3 | SDO | SPARE
2 | 7 | 4 | SDO | SPARE
2 | 7 | 5 | SDO | SPARE
2 | 7 | 6 | SDO | SPARE
2 | 7 | 7 | SDO | SPARE

## Rack 2 Slot 8
Rack | Slot | IO Point | Column H | Column K | Column Q
2 | 8 | 0 | SDO | SL3-MEH-ACP1-ESR8 | Shiploader 3 Machine E-House ACP1 Shuttle Safety Stop ESR8 Relay Feedback
2 | 8 | 1 | SDO | SL3-MEH-ACP1-ESR9 | Shiploader 3 Machine E-House ACP1 Shuttle Safety Stop ESR9 Relay Feedback
2 | 8 | 2 | SDO | SL3-MEH-ACP1-ESR10 | Shiploader 3 Machine E-House ACP1 Spout Safety Stop ESR10 Relay Feedback
2 | 8 | 3 | SDO | SPARE
2 | 8 | 4 | SDO | SPARE
2 | 8 | 5 | SDO | SPARE
2 | 8 | 6 | SDO | SPARE
2 | 8 | 7 | SDO | SPARE

## Rack 4 Slot 0
Rack | Slot | IO Point | Column H | Column K | Column Q
4 | 0 | 0 | DI | SPARE
4 | 0 | 1 | DI | SPARE
4 | 0 | 2 | DI | SPARE
4 | 0 | 3 | DI | SPARE
4 | 0 | 4 | DI | SPARE
4 | 0 | 5 | DI | SPARE
4 | 0 | 6 | DI | SPARE
4 | 0 | 7 | DI | SPARE
4 | 0 | 8 | DI | SPARE
4 | 0 | 9 | DI | SPARE
4 | 0 | 10 | DI | SPARE
4 | 0 | 11 | DI | SPARE
4 | 0 | 12 | DI | SPARE
4 | 0 | 13 | DI | SPARE
4 | 0 | 14 | DI | SPARE
4 | 0 | 15 | DI | SPARE

## Rack 4 Slot 1
Rack | Slot | IO Point | Column H | Column K | Column Q
4 | 1 | 0 | DI | SPARE
4 | 1 | 1 | DI | SPARE
4 | 1 | 2 | DI | SPARE
4 | 1 | 3 | DI | SPARE
4 | 1 | 4 | DI | SPARE
4 | 1 | 5 | DI | SPARE
4 | 1 | 6 | DI | SPARE
4 | 1 | 7 | DI | SPARE
4 | 1 | 8 | DI | SPARE
4 | 1 | 9 | DI | SPARE
4 | 1 | 10 | DI | SPARE
4 | 1 | 11 | DI | SPARE
4 | 1 | 12 | DI | SPARE
4 | 1 | 13 | DI | SPARE
4 | 1 | 14 | DI | SPARE
4 | 1 | 15 | DI | SPARE

## Rack 4 Slot 2
Rack | Slot | IO Point | Column H | Column K | Column Q
4 | 2 | 0 | DO | SL3-MEH-CP1-C1 | Shiploader 3 Electrical house PLC Auxiliary panel Lighting Contactor 1
4 | 2 | 1 | DO | SL3-MEH-CP1-C2 | Shiploader 3 Electrical house PLC Auxiliary panel Lighting Contactor 2
4 | 2 | 2 | DO | SPARE
4 | 2 | 3 | DO | SPARE
4 | 2 | 4 | DO | SPARE
4 | 2 | 5 | DO | SPARE
4 | 2 | 6 | DO | SPARE
4 | 2 | 7 | DO | SPARE
4 | 2 | 8 | DO | SL3-MEH-CP1-C3 | Shiploader 3 Electrical house PLC Auxiliary panel Lighting Contactor 3
4 | 2 | 9 | DO | SPARE
4 | 2 | 10 | DO | SPARE
4 | 2 | 11 | DO | SPARE
4 | 2 | 12 | DO | SPARE
4 | 2 | 13 | DO | SPARE
4 | 2 | 14 | DO | SPARE
4 | 2 | 15 | DO | SPARE

## Rack 6 Slot 1
Rack | Slot | IO Point | Column H | Column K | Column Q
6 | 1 | 0 | SDI | SL3-SLW-RCP1-ESR1-F | Shiploader 3 Slew Motor 1-8 Brakes & Rail Clamps 1-2 Safety Stop ESR1 Relay Feedback
6 | 1 | 1 | SDI | SPARE
6 | 1 | 2 | SDI | SPARE
6 | 1 | 3 | SDI | SPARE
6 | 1 | 4 | SDI | SL3-SLW-ES1 | Shiploader 3 Slew Bogies Emergency Stop Push Button 1
6 | 1 | 5 | SDI | SL3-SLW-ES2 | Shiploader 3 Slew Bogies Emergency Stop Push Button 2
6 | 1 | 6 | SDI | SL3-SLW-ES3 | Shiploader 3 Slew Bogies Emergency Stop Push Button 3
6 | 1 | 7 | SDI | SL3-SLW-ES4 | Shiploader 3 Slew Bogies Emergency Stop Push Button 4

## Rack 6 Slot 2
Rack | Slot | IO Point | Column H | Column K | Column Q
6 | 2 | 0 | SDI | SL3-SLW-ZLS1 | Shiploader 3 Slew Left Overtravel Limit Switch
6 | 2 | 1 | SDI | SL3-SLW-ZLS2 | Shiploader 3 Slew Right Overtravel Limit Switch
6 | 2 | 2 | SDI | SPARE
6 | 2 | 3 | SDI | SPARE
6 | 2 | 4 | SDI | SPARE
6 | 2 | 5 | SDI | SPARE
6 | 2 | 6 | SDI | SPARE
6 | 2 | 7 | SDI | SPARE

## Rack 6 Slot 3
Rack | Slot | IO Point | Column H | Column K | Column Q
6 | 3 | 0 | SDO | SL3-SLW-RCP1-ESR1 | Shiploader 3 Slew Motor 1-8 Brakes & Rail Clamps 1-2 Safety Stop ESR1 Relay
6 | 3 | 1 | SDO | SPARE
6 | 3 | 2 | SDO | SPARE
6 | 3 | 3 | SDO | SPARE
6 | 3 | 4 | SDO | SPARE
6 | 3 | 5 | SDO | SPARE
6 | 3 | 6 | SDO | SPARE
6 | 3 | 7 | SDO | SPARE

## Rack 7 Slot 0
Rack | Slot | IO Point | Column H | Column K | Column Q
7 | 0 | 0 | AI | SPARE
7 | 0 | 1 | AI | SPARE
7 | 0 | 2 | AI | SPARE
7 | 0 | 3 | AI | SPARE

## Rack 7 Slot 1
Rack | Slot | IO Point | Column H | Column K | Column Q
7 | 1 | 0 | AI | SL3-LU1-PIT1 | Shiploader 3 Slew Lube Unit 1 End of Line @Left Slew Travel Line A Press. Ind. Trans.
7 | 1 | 1 | AI | SL3-LU1-PIT2 | Shiploader 3 Slew Lube Unit 1 End of Line @Left Slew Travel Line B Press. Ind. Trans.
7 | 1 | 2 | AI | SPARE
7 | 1 | 3 | AI | SPARE
7 | 1 | 4 | AI | SPARE
7 | 1 | 5 | AI | SPARE
7 | 1 | 6 | AI | SPARE
7 | 1 | 7 | AI | SPARE

## Rack 7 Slot 2
Rack | Slot | IO Point | Column H | Column K | Column Q
7 | 2 | 0 | DI | SPARE
7 | 2 | 1 | DI | SPARE
7 | 2 | 2 | DI | SPARE
7 | 2 | 3 | DI | SPARE
7 | 2 | 4 | DI | SPARE
7 | 2 | 5 | DI | SPARE
7 | 2 | 6 | DI | SPARE
7 | 2 | 7 | DI | SPARE
7 | 2 | 8 | DI | SPARE
7 | 2 | 9 | DI | SPARE
7 | 2 | 10 | DI | SPARE
7 | 2 | 11 | DI | SPARE
7 | 2 | 12 | DI | SPARE
7 | 2 | 13 | DI | SPARE
7 | 2 | 14 | DI | SPARE
7 | 2 | 15 | DI | SPARE

## Rack 7 Slot 3
Rack | Slot | IO Point | Column H | Column K | Column Q
7 | 3 | 0 | DI | SL3-SLW-RC1-LCS1-PBL1A | Shiploader 3 Slew Rail Clamp 1 Open Push Button
7 | 3 | 1 | DI | SL3-SLW-RC1-LCS1-PB2 | Shiploader 3 Slew Rail Clamp 1 Close Push Button
7 | 3 | 2 | DI | SL3-SLW-RC2-LCS1-PBL1A | Shiploader 3 Slew Rail Clamp 2 Open Push Button
7 | 3 | 3 | DI | SL3-SLW-RC2-LCS1-PB2 | Shiploader 3 Slew Rail Clamp 2 Close Push Button
7 | 3 | 4 | DI | SL3-SLW-LCS1-PB1 | Shiploader 3 Slew Left Push Button
7 | 3 | 5 | DI | SL3-SLW-LCS1-PB2 | Shiploader 3 Slew Right Push Button
7 | 3 | 6 | DI | SL3-SLW-LCS1-PB3 | Shiploader 3 Slew Overtravel Bypass Push Button
7 | 3 | 7 | DI | SPARE
7 | 3 | 8 | DI | SPARE
7 | 3 | 9 | DI | SPARE
7 | 3 | 10 | DI | SPARE
7 | 3 | 11 | DI | SPARE
7 | 3 | 12 | DI | SPARE
7 | 3 | 13 | DI | SL3-SLW-RCP1-CR31A-F | Shiploader 3 Slew Motor 1-4 Brake Contactor CR31A Feedback
7 | 3 | 14 | DI | SL3-SLW-RCP1-CR31B-F | Shiploader 3 Slew Motor 5-8 Brake Contactor CR31B Feedback
7 | 3 | 15 | DI | SL3-SLW-RCP1-CR33-F | Shiploader 3 Slew Motor 1-8 Space Heaters Contactor CR33 Feedback

## Rack 7 Slot 4
Rack | Slot | IO Point | Column H | Column K | Column Q
7 | 4 | 0 | DI | SL3-SLW-BK1-ZPX1 | Shiploader 3 Slew Motor 1 Brake Released Proximity Switch
7 | 4 | 1 | DI | SL3-SLW-BK2-ZPX1 | Shiploader 3 Slew Motor 2 Brake Released Proximity Switch
7 | 4 | 2 | DI | SL3-SLW-BK3-ZPX1 | Shiploader 3 Slew Motor 3 Brake Released Proximity Switch
7 | 4 | 3 | DI | SL3-SLW-BK4-ZPX1 | Shiploader 3 Slew Motor 4 Brake Released Proximity Switch
7 | 4 | 4 | DI | SL3-SLW-BK5-ZPX1 | Shiploader 3 Slew Motor 5 Brake Released Proximity Switch
7 | 4 | 5 | DI | SL3-SLW-BK6-ZPX1 | Shiploader 3 Slew Motor 6 Brake Released Proximity Switch
7 | 4 | 6 | DI | SL3-SLW-BK7-ZPX1 | Shiploader 3 Slew Motor 7 Brake Released Proximity Switch
7 | 4 | 7 | DI | SL3-SLW-BK8-ZPX1 | Shiploader 3 Slew Motor 8 Brake Released Proximity Switch
7 | 4 | 8 | DI | SL3-SLW-ZPX1 | Shiploader 3 Slew Left End of Travel Proximity Switch
7 | 4 | 9 | DI | SL3-SLW-ZPX2 | Shiploader 3 Slew Right End of Travel Proximity Switch
7 | 4 | 10 | DI | SL3-SLW-ZPX3 | Shiploader 3 Slew Parking Position Lock Position Proximity Switch
7 | 4 | 11 | DI | SL3-SLW-ZPX5 | Shiploader 3 Slew Encoder Reference Position Check On Proximity Switch
7 | 4 | 12 | DI | SL3-SLW-ZPX6 | Shiploader 3 Slew Encoder Reference At 30% Travel Proximity Switch
7 | 4 | 13 | DI | SL3-SLW-ZPX7 | Shiploader 3 Slew Encoder Reference At 60% Travel Proximity Switch
7 | 4 | 14 | DI | SPARE
7 | 4 | 15 | DI | SPARE

## Rack 7 Slot 5
Rack | Slot | IO Point | Column H | Column K | Column Q
7 | 5 | 0 | DI | SL3-SLW-RC1-ZPX1 | Shiploader 3 Slew Rail Clamp 1 Released Indication Limit Switch 1
7 | 5 | 1 | DI | SL3-SLW-RC1-ZPX2 | Shiploader 3 Slew Rail Clamp 1 On Rail Clamp Indication Limit Switch 2
7 | 5 | 2 | DI | SL3-SLW-RC1-ZPX3 | Shiploader 3 Slew Rail Clamp 1 Out of Adjustment Limit Switch 3
7 | 5 | 3 | DI | SPARE
7 | 5 | 4 | DI | SL3-SLW-RC2-ZPX1 | Shiploader 3 Slew Rail Clamp 2 Released Indication Limit Switch 1
7 | 5 | 5 | DI | SL3-SLW-RC2-ZPX2 | Shiploader 3 Slew Rail Clamp 2 On Rail Clamp Indication Limit Switch 2
7 | 5 | 6 | DI | SL3-SLW-RC2-ZPX3 | Shiploader 3 Slew Rail Clamp 2 Out of Adjustment Limit Switch 3
7 | 5 | 7 | DI | SL3-BCB-G-ZPX2 | Shiploader 3 Boom Conveyor Bridge Safety Gate Status Near Discharge Pulley Proximity Switch
7 | 5 | 8 | DI | SPARE
7 | 5 | 9 | DI | SPARE
7 | 5 | 10 | DI | SPARE
7 | 5 | 11 | DI | SPARE
7 | 5 | 12 | DI | SPARE
7 | 5 | 13 | DI | SPARE
7 | 5 | 14 | DI | SPARE
7 | 5 | 15 | DI | SPARE

## Rack 7 Slot 6
Rack | Slot | IO Point | Column H | Column K | Column Q
7 | 6 | 0 | DO | SL3-SLW-RC1-BK1 | Shiploader 3 Slew Rail Clamp 1 Holding Brake
7 | 6 | 1 | DO | SL3-SLW-RC2-BK1 | Shiploader 3 Slew Rail Clamp 2 Holding Brake
7 | 6 | 2 | DO | SPARE
7 | 6 | 3 | DO | SPARE
7 | 6 | 4 | DO | SPARE
7 | 6 | 5 | DO | SL3-SLW-RCP1-CR33 | Shiploader 3 Slew Motor 1 to 8 Space Heaters Contactor CR33
7 | 6 | 6 | DO | SL3-SLW-BK1-8 | Shiploader 3 Slew Motor 1 to 8 Brakes Contactor CR31A and CR31B
7 | 6 | 7 | DO | SL3-SLW-BK1-8-HE1 | Shiploader 3 Slew Motor 1 to 8 Brake Heaters Control Relays
7 | 6 | 8 | DO | SL3-SLW-YA1 | Shiploader 3 Slew Movement Warning Horn
7 | 6 | 9 | DO | SL3-SLW-YL1 | Shiploader 3 Slew Left Movement Warning Light
7 | 6 | 10 | DO | SL3-SLW-YL2 | Shiploader 3 Slew Right Movement Warning Light
7 | 6 | 11 | DO | SPARE
7 | 6 | 12 | DO | SPARE
7 | 6 | 13 | DO | SPARE
7 | 6 | 14 | DO | SPARE
7 | 6 | 15 | DO | SPARE

## Rack 7 Slot 7
Rack | Slot | IO Point | Column H | Column K | Column Q
7 | 7 | 0 | DO | SL3-SLW-RC1-LCS1-PL1 | Shiploader 3 Slew Rail Clamp 1 Maintenance Mode Active Pilot Light
7 | 7 | 1 | DO | SL3-SLW-RC1-LCS1-PBL1B | Shiploader 3 Slew Rail Clamp 1 Open PB LED Light
7 | 7 | 2 | DO | SL3-SLW-RC2-LCS1-PL1 | Shiploader 3 Slew Rail Clamp 2 Maintenance Mode Active Pilot Light
7 | 7 | 3 | DO | SL3-SLW-RC2-LCS1-PBL1B | Shiploader 3 Slew Rail Clamp 2 Open PB LED Light
7 | 7 | 4 | DO | SL3-SLW-LCS1-PL1 | Shiploader 3 Slew Maintenance Mode Active Pilot Light
7 | 7 | 5 | DO | SPARE
7 | 7 | 6 | DO | SPARE
7 | 7 | 7 | DO | SPARE
7 | 7 | 8 | DO | SPARE
7 | 7 | 9 | DO | SPARE
7 | 7 | 10 | DO | SPARE
7 | 7 | 11 | DO | SPARE
7 | 7 | 12 | DO | SPARE
7 | 7 | 13 | DO | SPARE
7 | 7 | 14 | DO | SPARE
7 | 7 | 15 | DO | SPARE

## Rack 8 Slot 0
Rack | Slot | IO Point | Column H | Column K | Column Q
8 | 0 | 0 | AI | SPARE
8 | 0 | 1 | AI | SPARE
8 | 0 | 2 | AI | SPARE
8 | 0 | 3 | AI | SPARE

## Rack 8 Slot 1
Rack | Slot | IO Point | Column H | Column K | Column Q
8 | 1 | 0 | AI | SPARE
8 | 1 | 1 | AI | SPARE
8 | 1 | 2 | AI | SPARE
8 | 1 | 3 | AI | SPARE
8 | 1 | 4 | AI | SPARE
8 | 1 | 5 | AI | SPARE
8 | 1 | 6 | AI | SPARE
8 | 1 | 7 | AI | SPARE

## Rack 8 Slot 2
Rack | Slot | IO Point | Column H | Column K | Column Q
8 | 2 | 0 | DI | SPARE
8 | 2 | 1 | DI | SPARE
8 | 2 | 2 | DI | SPARE
8 | 2 | 3 | DI | SPARE
8 | 2 | 4 | DI | SPARE
8 | 2 | 5 | DI | SPARE
8 | 2 | 6 | DI | SPARE
8 | 2 | 7 | DI | SPARE
8 | 2 | 8 | DI | SPARE
8 | 2 | 9 | DI | SPARE
8 | 2 | 10 | DI | SPARE
8 | 2 | 11 | DI | SPARE
8 | 2 | 12 | DI | SPARE
8 | 2 | 13 | DI | SPARE
8 | 2 | 14 | DI | SPARE
8 | 2 | 15 | DI | SPARE

## Rack 8 Slot 3
Rack | Slot | IO Point | Column H | Column K | Column Q
8 | 3 | 0 | DI | SPARE
8 | 3 | 1 | DI | SPARE
8 | 3 | 2 | DI | SPARE
8 | 3 | 3 | DI | SPARE
8 | 3 | 4 | DI | SPARE
8 | 3 | 5 | DI | SPARE
8 | 3 | 6 | DI | SPARE
8 | 3 | 7 | DI | SPARE
8 | 3 | 8 | DI | SPARE
8 | 3 | 9 | DI | SPARE
8 | 3 | 10 | DI | SPARE
8 | 3 | 11 | DI | SPARE
8 | 3 | 12 | DI | SPARE
8 | 3 | 13 | DI | SPARE
8 | 3 | 14 | DI | SPARE
8 | 3 | 15 | DI | SPARE

## Rack 8 Slot 4
Rack | Slot | IO Point | Column H | Column K | Column Q
8 | 4 | 0 | DO | SPARE
8 | 4 | 1 | DO | SPARE
8 | 4 | 2 | DO | SPARE
8 | 4 | 3 | DO | SPARE
8 | 4 | 4 | DO | SPARE
8 | 4 | 5 | DO | SPARE
8 | 4 | 6 | DO | SPARE
8 | 4 | 7 | DO | SPARE
8 | 4 | 8 | DO | SPARE
8 | 4 | 9 | DO | SPARE
8 | 4 | 10 | DO | SPARE
8 | 4 | 11 | DO | SPARE
8 | 4 | 12 | DO | SPARE
8 | 4 | 13 | DO | SPARE
8 | 4 | 14 | DO | SPARE
8 | 4 | 15 | DO | SPARE

## Rack 10 Slot 1
Rack | Slot | IO Point | Column H | Column K | Column Q
10 | 1 | 0 | SDI | SL3-BH-RCP1-ESR1-F | Shiploader 3 Boom Hoist Emergency Brake HPU1 & HPU2 Safety Stop ESR1 Relay Feedback
10 | 1 | 1 | SDI | SL3-BH-RCP1-ESR2-F | Shiploader 3 Shuttle Motors 1-4 Brakes & Rail Clamps 1-2 Safety Stop ESR2 Relay Feedback
10 | 1 | 2 | SDI | SPARE
10 | 1 | 3 | SDI | SPARE
10 | 1 | 4 | SDI | SL3-BH-ES1 | Shiploader 3 Boom Hoist Maint. Cabin Emergency Stop Push Button 1
10 | 1 | 5 | SDI | SL3-BH-ES2 | Shiploader 3 Boom Hoist Emergency Stop Push Button 2
10 | 1 | 6 | SDI | SL3-BH-ZLS1 | Shiploader 3 Boom Hoist Up Limit Overtravel Limit Switch
10 | 1 | 7 | SDI | SL3-BH-ZLS2 | Shiploader 3 Boom Hoist Down Limit Overtravel Limit Switch

## Rack 10 Slot 2
Rack | Slot | IO Point | Column H | Column K | Column Q
10 | 2 | 0 | SDI | SL3-BH-RCP1-A-X2-S1 | Shiploader 3 Boom Hoist Drum 1 Safety Encoder System Raise Overspeed Trip
10 | 2 | 1 | SDI | SL3-BH-RCP1-A-X2-S2 | Shiploader 3 Boom Hoist Drum 1 Safety Encoder System Lower Overspeed Trip
10 | 2 | 2 | SDI | SL3-BH-RCP1-A-X3-S1 | Shiploader 3 Boom Hoist Drum 1 Safety Encoder System Overtravel Upper Limit
10 | 2 | 3 | SDI | SL3-BH-RCP1-A-X3-S2 | Shiploader 3 Boom Hoist Drum 1 Safety Encoder System Overtravel Lower Limit
10 | 2 | 4 | SDI | SL3-BH-RCP1-B-X2-S1 | Shiploader 3 Boom Hoist Drum 2 Safety Encoder System Raise Overspeed Trip
10 | 2 | 5 | SDI | SL3-BH-RCP1-B-X2-S2 | Shiploader 3 Boom Hoist Drum 2 Safety Encoder System Lower Overspeed Trip
10 | 2 | 6 | SDI | SL3-BH-RCP1-B-X3-S1 | Shiploader 3 Boom Hoist Drum 2 Safety Encoder System Overtravel Upper Limit
10 | 2 | 7 | SDI | SL3-BH-RCP1-B-X3-S2 | Shiploader 3 Boom Hoist Drum 2 Safety Encoder System Overtravel Lower Limit

## Rack 10 Slot 3
Rack | Slot | IO Point | Column H | Column K | Column Q
10 | 3 | 0 | SDI | SL3-SH-ES1 | Shiploader 3 Shuttle Emergency Stop Push Button 1
10 | 3 | 1 | SDI | SL3-SH-ES2 | Shiploader 3 Shuttle Emergency Stop Push Button 2
10 | 3 | 2 | SDI | SL3-SH-ES3 | Shiploader 3 Shuttle Emergency Stop Push Button 3
10 | 3 | 3 | SDI | SL3-SH-ES4 | Shiploader 3 Shuttle Emergency Stop Push Button 4
10 | 3 | 4 | SDI | SL3-SH-ZLS1 | Shiploader 3 Shuttle Extended Overtravel Limit Switch
10 | 3 | 5 | SDI | SL3-SH-ZLS2 | Shiploader 3 Shuttle Retracted Overtravel Limit Switch
10 | 3 | 6 | SDI | SPARE
10 | 3 | 7 | SDI | SPARE

## Rack 10 Slot 4
Rack | Slot | IO Point | Column H | Column K | Column Q
10 | 4 | 0 | SDO | SL3-BH-RCP1-ESR1 | Shiploader 3 Boom Hoist Emergency Brake HPU1 & HPU2 Safety Stop ESR1 Relay
10 | 4 | 1 | SDO | SL3-BH-RCP1-ESR2 | Shiploader 3 Shuttle Motors 1-4 Brakes & Rail Clamps 1-2 Safety Stop ESR2 Relay
10 | 4 | 2 | SDO | SPARE
10 | 4 | 3 | SDO | SPARE
10 | 4 | 4 | SDO | SPARE
10 | 4 | 5 | SDO | SPARE
10 | 4 | 6 | SDO | SPARE
10 | 4 | 7 | SDO | SPARE

## Rack 11 Slot 0
Rack | Slot | IO Point | Column H | Column K | Column Q
11 | 0 | 0 | AI | SL3-BH-M1-TE1 | Shiploader 3 Boom Hoist Motor 1 Phase A Winding Temperature RTD 1
11 | 0 | 1 | AI | SL3-BH-M1-TE2 | Shiploader 3 Boom Hoist Motor 1 Phase A Winding Temperature RTD 2
11 | 0 | 2 | AI | SL3-BH-M1-TE3 | Shiploader 3 Boom Hoist Motor 1 Phase B Winding Temperature RTD 1
11 | 0 | 3 | AI | SL3-BH-M1-TE4 | Shiploader 3 Boom Hoist Motor 1 Phase B Winding Temperature RTD 2
11 | 0 | 4 | AI | SL3-BH-M1-TE5 | Shiploader 3 Boom Hoist Motor 1 Phase C Winding Temperature RTD 1
11 | 0 | 5 | AI | SL3-BH-M1-TE6 | Shiploader 3 Boom Hoist Motor 1 Phase C Winding Temperature RTD 2
11 | 0 | 6 | AI | SL3-BH-M1-TE7 | Shiploader 3 Boom Hoist Motor 1 Drive End Bearing Temperature RTD 1
11 | 0 | 7 | AI | SL3-BH-M1-TE8 | Shiploader 3 Boom Hoist Motor 1 Non Drive End Bearing Temperature RTD 1

## Rack 11 Slot 1
Rack | Slot | IO Point | Column H | Column K | Column Q
11 | 1 | 0 | AI | SL3-BH-M2-TE1 | Shiploader 3 Boom Hoist Motor 2 Phase A Winding Temperature RTD 1
11 | 1 | 1 | AI | SL3-BH-M2-TE2 | Shiploader 3 Boom Hoist Motor 2 Phase A Winding Temperature RTD 2
11 | 1 | 2 | AI | SL3-BH-M2-TE3 | Shiploader 3 Boom Hoist Motor 2 Phase B Winding Temperature RTD 1
11 | 1 | 3 | AI | SL3-BH-M2-TE4 | Shiploader 3 Boom Hoist Motor 2 Phase B Winding Temperature RTD 2
11 | 1 | 4 | AI | SL3-BH-M2-TE5 | Shiploader 3 Boom Hoist Motor 2 Phase C Winding Temperature RTD 1
11 | 1 | 5 | AI | SL3-BH-M2-TE6 | Shiploader 3 Boom Hoist Motor 2 Phase C Winding Temperature RTD 2
11 | 1 | 6 | AI | SL3-BH-M2-TE7 | Shiploader 3 Boom Hoist Motor 2 Drive End Bearing Temperature RTD 1
11 | 1 | 7 | AI | SL3-BH-M2-TE8 | Shiploader 3 Boom Hoist Motor 2 Non Drive End Bearing Temperature RTD 1

## Rack 11 Slot 2
Rack | Slot | IO Point | Column H | Column K | Column Q
11 | 2 | 0 | AI | SL3-SP1-HPU1-LT1 | Shiploader 3 Coal Spout HPU1 Oil Level Transmitter
11 | 2 | 1 | AI | SL3-SP1-HPU1-TT1 | Shiploader 3 Coal Spout HPU1 Oil Temperature Transmitter
11 | 2 | 2 | AI | SPARE
11 | 2 | 3 | AI | SPARE
11 | 2 | 4 | AI | SPARE
11 | 2 | 5 | AI | SPARE
11 | 2 | 6 | AI | SPARE
11 | 2 | 7 | AI | SPARE
11 | 2 | 0 | AI | SPARE
11 | 2 | 1 | AI | SPARE
11 | 2 | 2 | AI | SPARE
11 | 2 | 3 | AI | SPARE

## Rack 11 Slot 3
Rack | Slot | IO Point | Column H | Column K | Column Q
11 | 3 | 0 | AI | SL3-BH-GB1-TT1 | Shiploader 3 Boom Hoist Gearbox 1 Oil Temperature Transmitter
11 | 3 | 1 | AI | SL3-BH-GB2-TT1 | Shiploader 3 Boom Hoist Gearbox 2 Oil Temperature Transmitter
11 | 3 | 2 | AI | SL3-BH-HPU1-TT1 | Shiploader 3 Boom Hoist Emergency Brake HPU 1 Oil Temperature Transmitter
11 | 3 | 3 | AI | SL3-BH-HPU2-TT1 | Shiploader 3 Boom Hoist Emergency Brake HPU 2 Oil Temperature Transmitter
11 | 3 | 4 | AI | SL3-BH-WT1 | Shiploader 3 Boom Hoist Left Rope Tension Load Cell
11 | 3 | 5 | AI | SL3-BH-WT2 | Shiploader 3 Boom Hoist Right Rope Tension Load Cell
11 | 3 | 6 | AI | SPARE
11 | 3 | 7 | AI | SPARE

## Rack 11 Slot 4
Rack | Slot | IO Point | Column H | Column K | Column Q
11 | 4 | 0 | DI | SL3-BH-BK1-ZPX1 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 1 Caliper 1 Released Proximity Switch
11 | 4 | 1 | DI | SL3-BH-BK1-ZPX2 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 1 Caliper 1 Wear Proximity Switch
11 | 4 | 2 | DI | SL3-BH-BK1-ZPX3 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 1 Caliper 2 Released Proximity Switch
11 | 4 | 3 | DI | SL3-BH-BK1-ZPX4 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 1 Caliper 2 Wear Proximity Switch
11 | 4 | 4 | DI | SL3-BH-BK1-ZPX5 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 1 Caliper 3 Released Proximity Switch
11 | 4 | 5 | DI | SL3-BH-BK1-ZPX6 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 1 Caliper 3 Wear Proximity Switch
11 | 4 | 6 | DI | SL3-BH-BK1-ZPX7 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 1 Caliper 4 Released Proximity Switch
11 | 4 | 7 | DI | SL3-BH-BK1-ZPX8 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 1 Caliper 4 Wear Proximity Switch
11 | 4 | 8 | DI | SL3-BH-BK2-ZPX1 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 2 Caliper 1 Released Proximity Switch
11 | 4 | 9 | DI | SL3-BH-BK2-ZPX2 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 2 Caliper 1 Wear Proximity Switch
11 | 4 | 10 | DI | SL3-BH-BK2-ZPX3 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 2 Caliper 2 Released Proximity Switch
11 | 4 | 11 | DI | SL3-BH-BK2-ZPX4 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 2 Caliper 2 Wear Proximity Switch
11 | 4 | 12 | DI | SL3-BH-BK2-ZPX5 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 2 Caliper 3 Released Proximity Switch
11 | 4 | 13 | DI | SL3-BH-BK2-ZPX6 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 2 Caliper 3 Wear Proximity Switch
11 | 4 | 14 | DI | SL3-BH-BK2-ZPX7 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 2 Caliper 4 Released Proximity Switch
11 | 4 | 15 | DI | SL3-BH-BK2-ZPX8 | Shiploader 3 Boom Hoist Hydraulic Safety Brake 2 Caliper 4 Wear Proximity Switch

## Rack 11 Slot 5
Rack | Slot | IO Point | Column H | Column K | Column Q
11 | 5 | 0 | DI | SL3-BH-M1-BK1-ZPX1 | Shiploader 3 Boom Hoist Motor 1 Brake Released Proximity Switch
11 | 5 | 1 | DI | SL3-BH-M1-BK1-ZPX2 | Shiploader 3 Boom Hoist Motor 1 Brake Wear Monitoring Proximity Switch
11 | 5 | 2 | DI | SL3-BH-M2-BK1-ZPX1 | Shiploader 3 Boom Hoist Motor 2 Brake Released Proximity Switch
11 | 5 | 3 | DI | SL3-BH-M2-BK1-ZPX2 | Shiploader 3 Boom Hoist Motor 2 Brake Wear Monitoring Proximity Switch
11 | 5 | 4 | DI | SL3-BH-ZPX1 | Shiploader 3 Boom Hoist Left Rope Pawl Disengaged Proximity Switch
11 | 5 | 5 | DI | SL3-BH-ZPX2 | Shiploader 3 Boom Hoist Right Rope Pawl Disengaged Proximity Switch
11 | 5 | 6 | DI | SPARE | Beacon Alarm
11 | 5 | 7 | DI | SPARE
11 | 5 | 8 | DI | SL3-BH-HPU1-LSL1 | Shiploader 3 Boom Hoist Emergency Brake HPU 1 Low Oil Level Switch
11 | 5 | 9 | DI | SL3-BH-HPU1-PSH1 | Shiploader 3 Boom Hoist Emergency Brake HPU 1 High Pressure Switch
11 | 5 | 10 | DI | SL3-BH-HPU2-LSL1 | Shiploader 3 Boom Hoist Emergency Brake HPU 2 Low Oil Level Switch
11 | 5 | 11 | DI | SL3-BH-HPU2-PSH1 | Shiploader 3 Boom Hoist Emergency Brake HPU 2 High Pressure Switch
11 | 5 | 12 | DI | SPARE
11 | 5 | 13 | DI | SPARE
11 | 5 | 14 | DI | SL3-BH-GB1-ZPX1 | Shiploader 3 Boom Hoist Gearbox 1 Low Oil Level Proximity Switch
11 | 5 | 15 | DI | SL3-BH-GB2-ZPX1 | Shiploader 3 Boom Hoist Gearbox 2 Low Oil Level Proximity Switch

## Rack 11 Slot 6
Rack | Slot | IO Point | Column H | Column K | Column Q
11 | 6 | 0 | DI | SL3-BH-LCS1-PBL1A | Shiploader 3 Boom Hoist Brake Test Release Push Button
11 | 6 | 1 | DI | SL3-BH-LCS1-SEL1A | Shiploader 3 Boom Hoist Winch 1 Safety Brake Selector Switch
11 | 6 | 2 | DI | SL3-BH-LCS1-SEL1B | Shiploader 3 Boom Hoist Winch 2 Safety Brake Selector Switch
11 | 6 | 3 | DI | SL3-BH-LCS1-PB5 | Shiploader 3 Boom Hoist Raise Push Button
11 | 6 | 4 | DI | SL3-BH-LCS1-PB6 | Shiploader 3 Boom Hoist Lower Push Button
11 | 6 | 5 | DI | SL3-BH-LCS1-PB7 | Shiploader 3 Boom Hoist Overtravel Bypass Push Button
11 | 6 | 6 | DI | SL3-BH-LCS1-PB1 | Shiploader 3 Boom Hoist Winch 1 Rope Reel In Push Button
11 | 6 | 7 | DI | SL3-BH-LCS1-PB2 | Shiploader 3 Boom Hoist Winch 1 Rope Reel Out Push Button
11 | 6 | 8 | DI | SL3-BH-LCS1-PB3 | Shiploader 3 Boom Hoist Winch 2 Rope Reel In Push Button
11 | 6 | 9 | DI | SL3-BH-LCS1-PB4 | Shiploader 3 Boom Hoist Winch 2 Rope Reel Out Push Button
11 | 6 | 10 | DI | SL3-BH-LCS1-PBL2A | Shiploader 3 Spout Start HPU Motor Push Button
11 | 6 | 11 | DI | SL3-BH-LCS1-PB8 | Shiploader 3 Spout Stop HPU Motor Push Button
11 | 6 | 12 | DI | SPARE
11 | 6 | 13 | DI | SPARE
11 | 6 | 14 | DI | SPARE
11 | 6 | 15 | DI | SL3-BH-YL2-AL | Shiploader 3 Boom Hoist Aircraft Warning Beacon

## Rack 11 Slot 7
Rack | Slot | IO Point | Column H | Column K | Column Q
11 | 7 | 0 | DO | SL3-BH-HPU1-SV1 | Shiploader 3 Boom Hoist Emergency Brake HPU 1 Brake Release Valve 1
11 | 7 | 1 | DO | SL3-BH-HPU1-SV2 | Shiploader 3 Boom Hoist Emergency Brake HPU 1 Brake Release Valve 2
11 | 7 | 2 | DO | SL3-BH-HPU2-SV1 | Shiploader 3 Boom Hoist Emergency Brake HPU 2 Brake Release Valve 1
11 | 7 | 3 | DO | SL3-BH-HPU2-SV2 | Shiploader 3 Boom Hoist Emergency Brake HPU 2 Brake Release Valve 2
11 | 7 | 4 | DO | SL3-BH-M1-HE1 | Shiploader 3 Boom Hoist Motor 1 Heater
11 | 7 | 5 | DO | SL3-BH-M2-HE1 | Shiploader 3 Boom Hoist Motor 2 Heater
11 | 7 | 6 | DO | SPARE
11 | 7 | 7 | DO | SPARE
11 | 7 | 8 | DO | SL3-BH-LCS1-PL1 | Shiploader 3 Boom Hoist Maintenance Mode Active Pilot Light
11 | 7 | 9 | DO | SL3-BH-LCS1-PL2 | Shiploader 3 Boom Hoist Cable Service Indicator Pilot Light
11 | 7 | 10 | DO | SL3-BH-LCS1-PBL1B | Shiploader 3 Boom Hoist Brake Test Release Pilot Light
11 | 7 | 11 | DO | SL3-BH-LCS1-PBL2B | Shiploader 3 Spout Start HPU Motor Pilot Light
11 | 7 | 12 | DO | SL3-BH-YA1 | Shiploader 3 Boom Hoist Start Warning Horn
11 | 7 | 13 | DO | SL3-BH-YL1 | Shiploader 3 Boom Hoist Start Warning Light
11 | 7 | 14 | DO | SL3-BH-YL2 | Shiploader 3 Boom Hoist Aircraft Warning Beacon
11 | 7 | 15 | DO | SPARE

## Rack 12 Slot 0
Rack | Slot | IO Point | Column H | Column K | Column Q
12 | 0 | 0 | AI | SPARE
12 | 0 | 1 | AI | SPARE
12 | 0 | 2 | AI | SPARE
12 | 0 | 3 | AI | SPARE
12 | 0 | 0 | AI | SL3-LU2-LIT1 | Shiploader 3 Shuttle Lube Unit 2 Level Transmitter
12 | 0 | 1 | AI | SL3-LU2-PIT1 | Shiploader 3 Shuttle Lube Unit 2 End of Line @Discharge Pulley Line A Press. Ind. Trans.
12 | 0 | 2 | AI | SL3-LU2-PIT2 | Shiploader 3 Shuttle Lube Unit 2 End of Line @Discharge Pulley Line B Press. Ind. Trans.
12 | 0 | 3 | AI | SL3-LU2-PIT3 | Shiploader 3 Shuttle Lube Unit 2 End of line @Rear Left Shuttle Line A Press. Ind. Trans.
12 | 0 | 4 | AI | SL3-LU2-PIT4 | Shiploader 3 Shuttle Lube Unit 2 End of line @Rear Left Shuttle Line B Press. Ind. Trans.
12 | 0 | 5 | AI | SL3-LU2-PIT5 | Shiploader 3 Shuttle Lube Unit 2 End of line @Rear Right Shuttle Line A Press. Ind. Trans.
12 | 0 | 6 | AI | SL3-LU2-PIT6 | Shiploader 3 Shuttle Lube Unit 2 End of line @Rear Right Shuttle Line B Press. Ind. Trans.
12 | 0 | 7 | AI | SPARE

## Rack 12 Slot 1
Rack | Slot | IO Point | Column H | Column K | Column Q
12 | 1 | 0 | AO | SL3-SP1-HPU1-PV2A,B | Amplifier Input Signal
12 | 1 | 1 | AO | SL3-SP1-HPU1-PV4A, B | Amplifier Input Signal
12 | 1 | 2 | AO | SPARE
12 | 1 | 3 | AO | SPARE

## Rack 12 Slot 2
Rack | Slot | IO Point | Column H | Column K | Column Q
12 | 2 | 0 | DI | SL3-BH-RCP1-A-X2-S3 | Shiploader 3 Boom Hoist Drum 1 Safety Encoder System Controler Fault
12 | 2 | 1 | DI | SL3-BH-RCP1-A-X4-S1 | Shiploader 3 Boom Hoist Drum 1 Safety Encoder System End of Travel Upper Limit
12 | 2 | 2 | DI | SL3-BH-RCP1-A-X4-S2 | Shiploader 3 Boom Hoist Drum 1 Safety Encoder System End of Travel Lower Limit
12 | 2 | 3 | DI | SL3-BH-RCP1-B-X2-S3 | Shiploader 3 Boom Hoist Drum 2 Safety Encoder System Controler Fault
12 | 2 | 4 | DI | SL3-BH-RCP1-B-X4-S1 | Shiploader 3 Boom Hoist Drum 2 Safety Encoder System End of Travel Upper Limit
12 | 2 | 5 | DI | SL3-BH-RCP1-B-X4-S2 | Shiploader 3 Boom Hoist Drum 2 Safety Encoder System End of Travel Lower Limit
12 | 2 | 6 | DI | SPARE
12 | 2 | 7 | DI | SPARE
12 | 2 | 8 | DI | SL3-SP1-HPU1-OS1 | Shiploader 3 Coal Spout HPU1 Oil in Tray Switch
12 | 2 | 9 | DI | SL3-SP1-HPU1-PSH1 | Shiploader 3 Coal Spout HPU1 Pressure Filter Plugged Switch
12 | 2 | 10 | DI | SL3-SP1-HPU1-PSH2 | Shiploader 3 Coal Spout HPU1 Return Filter Plugged Switch
12 | 2 | 11 | DI | SPARE
12 | 2 | 12 | DI | SPARE
12 | 2 | 13 | DI | SPARE
12 | 2 | 14 | DI | SPARE
12 | 2 | 15 | DI | SPARE

## Rack 12 Slot 3
Rack | Slot | IO Point | Column H | Column K | Column Q
12 | 3 | 0 | DI | SL3-SP1-HPU1-LSL1 | Shiploader 3 Coal Spout HPU1 Low Oil Warning Level Switch
12 | 3 | 1 | DI | SL3-SP1-HPU1-LSLL1 | Shiploader 3 Coal Spout HPU1 Low Low Oil Shutdown Level Switch
12 | 3 | 2 | DI | SL3-SP1-HPU1-S1 | Shiploader 3 Coal Spout HPU1 Suction Valve Open Switch
12 | 3 | 3 | DI | SL3-SH-ZLS01 | Shiploader 3 Shuttle (Carriage) Washdown Limit switch for camlock connection
12 | 3 | 4 | DI | SPARE
12 | 3 | 5 | DI | SPARE
12 | 3 | 6 | DI | SPARE
12 | 3 | 7 | DI | SPARE
12 | 3 | 8 | DI | SPARE
12 | 3 | 9 | DI | SPARE
12 | 3 | 10 | DI | SPARE
12 | 3 | 11 | DI | SPARE
12 | 3 | 12 | DI | SPARE
12 | 3 | 13 | DI | SPARE
12 | 3 | 14 | DI | SPARE
12 | 3 | 15 | DI | SPARE

## Rack 12 Slot 4
Rack | Slot | IO Point | Column H | Column K | Column Q
12 | 4 | 0 | DI | SL3-SH-RC 1-LCS1-PBL1A | Shiploader 3 Shuttle Rail Clamp 2 Open Push Button
12 | 4 | 1 | DI | SL3-SH-RC 1-LCS1-PB2 | Shiploader 3 Shuttle Rail Clamp 1 Close Push Button
12 | 4 | 2 | DI | SL3-SH-RC 2-LCS1-PBL1A | Shiploader 3 Shuttle Rail Clamp 2 Open Push Button
12 | 4 | 3 | DI | SL3-SH-RC 2-LCS1-PB2 | Shiploader 3 Shuttle Rail Clamp 2 Close Push Button
12 | 4 | 4 | DI | SL3-SH-LCS1-PB1 | Shiploader 3 Shuttle Extend Push Button
12 | 4 | 5 | DI | SL3-SH-LCS1-PB2 | Shiploader 3 Shuttle Retract Push Button
12 | 4 | 6 | DI | SL3-SH-LCS1-PB3 | Shiploader 3 Shuttle Overtravel Bypass Push Button
12 | 4 | 7 | DI | SPARE
12 | 4 | 8 | DI | SL3-LU2-LCS1-PBL1A | Shiploader 3 Shuttle Lubrication Unit 2 Lube Pump Jog Push Button
12 | 4 | 9 | DI | SL3-LU2-LCS1-PB1 | Shiploader 3 Shuttle Lubrication Unit 2 Lube Pump Cycle A Push Button
12 | 4 | 10 | DI | SL3-LU2-LCS1-PB2 | Shiploader 3 Shuttle Lubrication Unit 2 Lube Pump Cycle B Push Button
12 | 4 | 11 | DI | SPARE
12 | 4 | 12 | DI | SPARE
12 | 4 | 13 | DI | SPARE
12 | 4 | 14 | DI | SL3-BH-RCP1-CR31-F | Shiploader 3 Shuttle Motor 1-4 Brake Contactor CR31 Feedback
12 | 4 | 15 | DI | SL3-BH-RCP1-CR33-F | Shiploader 3 Shuttle Motor 1-4 Space Heaters Contactor CR33 Feedback

## Rack 12 Slot 5
Rack | Slot | IO Point | Column H | Column K | Column Q
12 | 5 | 0 | DI | SL3-SH-BK1-ZPX1 | Shiploader 3 Shuttle Motor 1 Brake Released Proximity Switch
12 | 5 | 1 | DI | SL3-SH-BK2-ZPX1 | Shiploader 3 Shuttle Motor 2 Brake Released Proximity Switch
12 | 5 | 2 | DI | SL3-SH-BK3-ZPX1 | Shiploader 3 Shuttle Motor 3 Brake Released Proximity Switch
12 | 5 | 3 | DI | SL3-SH-BK4-ZPX1 | Shiploader 3 Shuttle Motor 4 Brake Released Proximity Switch
12 | 5 | 4 | DI | SL3-SH-RC1-ZPX1 | Shiploader 3 Shuttle Rail Clamp 1 Released Indication Limit Switch 1
12 | 5 | 5 | DI | SL3-SH-RC1-ZPX2 | Shiploader 3 Shuttle Rail Clamp 1 On Rail Clamp Indication Limit Switch 2
12 | 5 | 6 | DI | SL3-SH-RC1-ZPX3 | Shiploader 3 Shuttle Rail Clamp 1 Out of Adjustment Limit Switch 3
12 | 5 | 7 | DI | SPARE
12 | 5 | 8 | DI | SL3-SH-RC2-ZPX1 | Shiploader 3 Shuttle Rail Clamp 2 Released Indication Limit Switch 1
12 | 5 | 9 | DI | SL3-SH-RC2-ZPX2 | Shiploader 3 Shuttle Rail Clamp 2 On Rail Clamp Indication Limit Switch 2
12 | 5 | 10 | DI | SL3-SH-RC2-ZPX3 | Shiploader 3 Shuttle Rail Clamp 2 Out of Adjustment Limit Switch 3
12 | 5 | 11 | DI | SL3-SH-ZPX1 | Shiploader 3 Shuttle Extended End of Travel Proximity Switch
12 | 5 | 12 | DI | SL3-SH-ZPX2 | Shiploader 3 Shuttle Retracted End of Travel Proximity Switch
12 | 5 | 13 | DI | SL3-SH-ZPX5 | Shiploader 3 Shuttle Encoder Reference Position Check On Proximity Switch
12 | 5 | 14 | DI | SL3-SH-ZPX6 | Shiploader 3 Shuttle Encoder Reference At 30% Travel Proximity Switch
12 | 5 | 15 | DI | SL3-SH-ZPX7 | Shiploader 3 Shuttle Encoder Reference At 60% Travel Proximity Switch

## Rack 12 Slot 6
Rack | Slot | IO Point | Column H | Column K | Column Q
12 | 6 | 0 | DO | SL3-SH-RC1-BK1 | Shiploader 3 Shuttle Rail Clamp 1 Holding Brake
12 | 6 | 1 | DO | SL3-SH-RC2-BK1 | Shiploader 3 Shuttle Rail Clamp 2 Holding Brake
12 | 6 | 2 | DO | SPARE
12 | 6 | 3 | DO | SPARE
12 | 6 | 4 | DO | SPARE
12 | 6 | 5 | DO | SL3-BH-RCP1-CR33 | Shiploader 3 Shuttle Motor 1-4 Space Heaters Contactor CR33
12 | 6 | 6 | DO | SL3-SH-BK1-4 | Shiploader 3 Shuttle Motor 1-4 Brakes Contactor CR31
12 | 6 | 7 | DO | SL3-SH-BK1-4-HE1 | Shiploader 3 Shuttle Motor 1-4 Brakes Heater Control Relays
12 | 6 | 8 | DO | SL3-LU2-SV1 | Shiploader 3 Shuttle Lube Unit 2 Line A Solenoid Valve
12 | 6 | 9 | DO | SL3-LU2-SV2 | Shiploader 3 Shuttle Lube Unit 2 Line B Solenoid Valve
12 | 6 | 10 | DO | SL3-LU2-SV3 | Shiploader 3 Shuttle Lube Unit 2 Refill Solenoid Valve
12 | 6 | 11 | DO | SL3-SP1-HPU1-SV1B | Shiploader 3 Coal Spout HPU1 Unloader Solenoid Valve
12 | 6 | 12 | DO | SL3-SP1-HPU1-SV3A | Shiploader 3 Coal Spout Clamp Cylinders Clamp Solenoid Valve
12 | 6 | 13 | DO | SL3-SP1-HPU1-SV3B | Shiploader 3 Coal Spout Clamp Cylinders Release Solenoid Valve
12 | 6 | 14 | DO | SL3-SP1-HPU1-HE1 | Shiploader 3 Coal Spout HPU 1 Heater
12 | 6 | 15 | DO | SPARE

## Rack 12 Slot 7
Rack | Slot | IO Point | Column H | Column K | Column Q
12 | 7 | 0 | DO | SL3-SH-YA1 | Shiploader 3 Shuttle Left Side Start Warning Horn
12 | 7 | 1 | DO | SL3-SH-YL1 | Shiploader 3 Shuttle Front Left Side Start Warning Light
12 | 7 | 2 | DO | SL3-SH-YL2 | Shiploader 3 Shuttle Front Right Side Start Warning Light
12 | 7 | 3 | DO | SL3-SH-SV01 | Shiploader 3 Shuttle (Carriage) Washdown Nozzle Spray Zone 1-O
12 | 7 | 4 | DO | SL3-SH-SV02 | Shiploader 3 Shuttle (Carriage) Washdown Nozzle Spray Zone 1-O, 1-N
12 | 7 | 5 | DO | SL3-SH-SV03 | Shiploader 3 Shuttle (Carriage) Washdown Nozzle Spray Zone 1-N
12 | 7 | 6 | DO | SL3-SH-SV04 | Shiploader 3 Shuttle (Carriage) Washdown Nozzle Spray Zone 1-O
12 | 7 | 7 | DO | SL3-SH-SV05 | Shiploader 3 Shuttle (Carriage) Washdown Nozzle Spray Zone 1-O, 1-N
12 | 7 | 8 | DO | SL3-SH-SV06 | Shiploader 3 Shuttle (Carriage) Washdown Nozzle Spray Zone 1-N
12 | 7 | 9 | DO | SL3-SH-RC 1-LCS1-PL1 | Shiploader 3 Shuttle Rail Clamp 1 Maintenance Mode Active Pilot Light
12 | 7 | 10 | DO | SL3-SH-RC 1-LCS1-PBL1B | Shiploader 3 Shuttle Rail Clamp 2 Open Pilot Light
12 | 7 | 11 | DO | SL3-SH-RC 2-LCS1-PL1 | Shiploader 3 Shuttle Rail Clamp 2 Maintenance Mode Active Pilot Light
12 | 7 | 12 | DO | SL3-SH-RC 2-LCS1-PBL1B | Shiploader 3 Shuttle Rail Clamp 2 Open Pilot Light
12 | 7 | 13 | DO | SL3-SH-LCS1-PL1 | Shiploader 3 Shuttle Maintenance Mode Active Pilot Light
12 | 7 | 14 | DO | SL3-LU2-LCS1-PL1 | Shiploader 3 Shuttle Lubrication Unit 2 Maintenance Mode Active Pilot Light
12 | 7 | 15 | DO | SL3-LU2-LCS1-PBL1B | Shiploader 3 Shuttle Lubrication Unit 2 Lube Pump Jog Pilot Light

## Rack 14 Slot 1
Rack | Slot | IO Point | Column H | Column K | Column Q
14 | 1 | 0 | SDI | SPARE | Shiploader 3 Boom Conveyor Safety Stop ESR1 Relay Feedback
14 | 1 | 1 | SDI | SPARE | Shiploader 3 Boom Conveyor Safety Stop ESR2 Relay Feedback
14 | 1 | 2 | SDI | SPARE
14 | 1 | 3 | SDI | SPARE
14 | 1 | 4 | SDI | SPARE
14 | 1 | 5 | SDI | SPARE
14 | 1 | 6 | SDI | SPARE
14 | 1 | 7 | SDI | SPARE

## Rack 14 Slot 2
Rack | Slot | IO Point | Column H | Column K | Column Q
14 | 2 | 0 | SDI | SL3-BC-PC1 | Shiploader 3 Boom Conveyor Left Side, Tail End Emergency Stop Pull Cord
14 | 2 | 1 | SDI | SL3-BC-PC2 | Shiploader 3 Boom Conveyor Right Side, Tail End Emergency Stop Pull Cord
14 | 2 | 2 | SDI | SL3-BC-PC3 | Shiploader 3 Boom Conveyor Left Side, Head End Emergency Stop Pull Cord
14 | 2 | 3 | SDI | SL3-BC-PC4 | Shiploader 3 Boom Conveyor Right Side, Head End Emergency Stop Pull Cord
14 | 2 | 4 | SDI | SPARE
14 | 2 | 5 | SDI | SPARE
14 | 2 | 6 | SDI | SPARE
14 | 2 | 7 | SDI | SPARE

## Rack 14 Slot 3
Rack | Slot | IO Point | Column H | Column K | Column Q
14 | 3 | 0 | SDO | SPARE | Shiploader 3 Boom Conveyor Safety Stop ESR1 Relay
14 | 3 | 1 | SDO | SPARE | Shiploader 3 Boom Conveyor Safety Stop ESR2 Relay
14 | 3 | 2 | SDO | SPARE
14 | 3 | 3 | SDO | SPARE
14 | 3 | 4 | SDO | SPARE
14 | 3 | 5 | SDO | SPARE
14 | 3 | 6 | SDO | SPARE
14 | 3 | 7 | SDO | SPARE

## Rack 15 Slot 0
Rack | Slot | IO Point | Column H | Column K | Column Q
15 | 0 | 0 | AI | SL3-SP1-HPU1-ZT1 | Shiploader 3 Coal Spout Left Lift ArmCylinder Temposonic
15 | 0 | 1 | AI | SL3-SP1-HPU1-ZT2 | Shiploader 3 Coal Spout Right Lift Arm Cylinder Temposonic
15 | 0 | 2 | AI | SL3-SP1-HPU1-ZT3 | Shiploader 3 Coal Spout Left Clamp Cylinder Temposonic
15 | 0 | 3 | AI | SL3-SP1-HPU1-ZT4 | Shiploader 3 Coal Spout Right Lift Arm Cylinder Temposonic

## Rack 15 Slot 1
Rack | Slot | IO Point | Column H | Column K | Column Q
15 | 1 | 0 | AI | SL3-BC-ZT1 | Shiploader 3 Boom Conveyor Inclinometer
15 | 1 | 1 | AI | SL3-SP1-HPU1-PT6 | Shiploader 3 Coal Spout Left Lift ArmCylinder Rod End Pressure Transmitter
15 | 1 | 2 | AI | SL3-SP1-HPU1-PT7 | Shiploader 3 Coal Spout Left Lift ArmCylinder Blind End Pressure Transmitter
15 | 1 | 3 | AI | SL3-SP1-HPU1-PT8 | Shiploader 3 Coal Spout Right Lift Arm Cylinder Rod End Pressure Transmitter
15 | 1 | 4 | AI | SL3-SP1-HPU1-PT9 | Shiploader 3 Coal Spout Right Lift Arm Cylinder Blind End Pressure Transmitter
15 | 1 | 5 | AI | SL3-BC-PIT01 | Shiploader 3 Boom Washdown Pressure transducer
15 | 1 | 6 | AI | SPARE
15 | 1 | 7 | AI | SPARE
15 | 1 | 0 | AI | SPARE
15 | 1 | 1 | AI | SPARE
15 | 1 | 2 | AI | SPARE
15 | 1 | 3 | AI | SPARE
15 | 1 | 4 | AI | SPARE
15 | 1 | 5 | AI | SPARE
15 | 1 | 6 | AI | SPARE
15 | 1 | 7 | AI | SPARE

## Rack 15 Slot 2
Rack | Slot | IO Point | Column H | Column K | Column Q
15 | 2 | 0 | DI | SL3-BC-ZLS1 | Shiploader 3 Boom Conveyor Left Side Belt Rip Switch
15 | 2 | 1 | DI | SL3-BC-ZLS2 | Shiploader 3 Boom Conveyor Right Side Belt Rip Switch
15 | 2 | 2 | DI | SL3-BC-SS1 | Shiploader 3 Boom Conveyor Belt Speed Sensor
15 | 2 | 3 | DI | SPARE
15 | 2 | 4 | DI | SL3-BC-ZLS3 | Shiploader 3 Boom Conveyor Left Side, Tail End Misalignment Switch
15 | 2 | 5 | DI | SL3-BC-ZLS4 | Shiploader 3 Boom Conveyor Right Side, Tail End Misalignment Switch
15 | 2 | 6 | DI | SL3-BC-ZLS5 | Shiploader 3 Boom Conveyor Left Side, Head End Misalignment Switch
15 | 2 | 7 | DI | SL3-BC-ZLS6 | Shiploader 3 Boom Conveyor Right Side, Head End Misalignment Switch
15 | 2 | 8 | DI | SL3-BC-ZPX1 | Shiploader 3 Boom Conveyor Boom End Water Accumulation Level Switch
15 | 2 | 9 | DI | SL3-BC-ZPX2 | Shiploader 3 Boom Conveyor Boom End Water Accumulation Level Switch
15 | 2 | 10 | DI | SPARE
15 | 2 | 11 | DI | SPARE
15 | 2 | 12 | DI | SPARE
15 | 2 | 13 | DI | SPARE
15 | 2 | 14 | DI | SPARE
15 | 2 | 15 | DI | SPARE

## Rack 15 Slot 3
Rack | Slot | IO Point | Column H | Column K | Column Q
15 | 3 | 0 | DI | SL3-SP-LCS1-PBL1A | Shiploader 3 Spout LCS Start HPU Motor Push Button
15 | 3 | 1 | DI | SL3-SP-LCS1-PB16 | Shiploader 3 Spout LCS Stop HPU Motor Push Button
15 | 3 | 2 | DI | SL3-SP-LCS1-SEL1A | Shiploader 3 Spout LCS Lift Arm Left Cylinder Extend Selector Switch
15 | 3 | 3 | DI | SL3-SP-LCS1-SEL1B | Shiploader 3 Spout LCS Lift Arm Left Cylinder Retract Selector Switch
15 | 3 | 4 | DI | SL3-SP-LCS1-SEL2A | Shiploader 3 Spout LCS Lift Arm Right Cylinder Extend Selector Switch
15 | 3 | 5 | DI | SL3-SP-LCS1-SEL2B | Shiploader 3 Spout LCS Lift Arm Right Cylinder Retract Selector Switch
15 | 3 | 6 | DI | SL3-SP-LCS1-PB1 | Shiploader 3 Spout LCS Clamp Cylinders Clamp Push Button
15 | 3 | 7 | DI | SL3-SP-LCS1-PB2 | Shiploader 3 Spout LCS Clamp Cylinders Release Push Button
15 | 3 | 8 | DI | SL3-SP-LCS1-PB3 | Shiploader 3 Spout LCS Coal Spout Safety Cylinders Left Push Button
15 | 3 | 9 | DI | SL3-SP-LCS1-PB4 | Shiploader 3 Spout LCS Coal Spout Safety Cylinders Right Push Button
15 | 3 | 10 | DI | SL3-SP-LCS1-PB5 | Shiploader 3 Spout LCS Coal Spout Leveling Cylinder Extend Push Button
15 | 3 | 11 | DI | SL3-SP-LCS1-PB6 | Shiploader 3 Spout LCS Coal Spout Leveling Cylinder Retract Push Button
15 | 3 | 12 | DI | SL3-SP-LCS1-PB7 | Shiploader 3 Spout LCS Coal Spout Slew CCW Push Button
15 | 3 | 13 | DI | SL3-SP-LCS1-PB8 | Shiploader 3 Spout LCS Coal Spout Slew CW Push Button
15 | 3 | 14 | DI | SL3-SP-LCS1-PB9 | Shiploader 3 Spout LCS Coal Spout Slew Overtravel Bypass Push Button
15 | 3 | 15 | DI | SL3-SP-LCS1-PB10 | Shiploader 3 Spout LCS Coal Spout Spoon Extend Push Button

## Rack 15 Slot 4
Rack | Slot | IO Point | Column H | Column K | Column Q
15 | 4 | 0 | DI | SL3-SP-LCS1-PB11 | Shiploader 3 Spout LCS Coal Spout Spoon Retract Push Button
15 | 4 | 1 | DI | SL3-SP-LCS1-PB12 | Shiploader 3 Spout LCS Coal Spout Spoon Overtravel Bypass Push Button
15 | 4 | 2 | DI | SL3-SP-LCS1-PB13 | Shiploader 3 Spout LCS Potash Spout Hoist Raise Push Button
15 | 4 | 3 | DI | SL3-SP-LCS1-PB14 | Shiploader 3 Spout LCS Potash Spout Hoist Lower Push Button
15 | 4 | 4 | DI | SL3-SP-LCS1-PB15 | Shiploader 3 Spout LCS Potash Spout Hoist Overtravel Bypass Push Button
15 | 4 | 5 | DI | SPARE
15 | 4 | 6 | DI | SPARE
15 | 4 | 7 | DI | SPARE
15 | 4 | 8 | DI | SL3-BC-LSHH1 | Shiploader 3 Boom Conveyor Head Chute Plugged Chute Tilt Switch
15 | 4 | 9 | DI | SL3-BC-ZLS01 | Shiploader 3 Boom Washdown Limit switch for camlock connection
15 | 4 | 10 | DI | SPARE
15 | 4 | 11 | DI | SPARE
15 | 4 | 12 | DI | SPARE
15 | 4 | 13 | DI | SPARE
15 | 4 | 14 | DI | SPARE
15 | 4 | 15 | DI | SPARE

## Rack 15 Slot 5
Rack | Slot | IO Point | Column H | Column K | Column Q
15 | 5 | 0 | DI | SPARE
15 | 5 | 1 | DI | SPARE
15 | 5 | 2 | DI | SPARE
15 | 5 | 3 | DI | SPARE
15 | 5 | 4 | DI | SPARE
15 | 5 | 5 | DI | SPARE
15 | 5 | 6 | DI | SPARE
15 | 5 | 7 | DI | SPARE
15 | 5 | 8 | DI | SPARE
15 | 5 | 9 | DI | SPARE
15 | 5 | 10 | DI | SPARE
15 | 5 | 11 | DI | SPARE
15 | 5 | 12 | DI | SPARE
15 | 5 | 13 | DI | SPARE
15 | 5 | 14 | DI | SPARE
15 | 5 | 15 | DI | SPARE
15 | 5 | 0 | DO | SL3-BC-YA1 | Shiploader 3 Boom Conveyor Left Side Start Warning Horn
15 | 5 | 1 | DO | SL3-BC-YL1 | Shiploader 3 Boom Conveyor Left Side Start Warning Light
15 | 5 | 2 | DO | SL3-BC-YL2 | Shiploader 3 Boom Conveyor Right Side Start Warning Light
15 | 5 | 3 | DO | SPARE
15 | 5 | 4 | DO | SL3-SP-LCS1-PBL1B | Shiploader 3 Spout LCS Start HPU Motor Pilot Light
15 | 5 | 5 | DO | SL3-SP-LCS1-PL1 | Shiploader 3 Spout LCS LCS Maintenance Mode Pilot Light
15 | 5 | 6 | DO | SL3-SP-CP1-PL1 | Shiploader 3 Spout Control Panel Coal Ready Pilot Light
15 | 5 | 7 | DO | SL3-SP-CP1-PL2 | Shiploader 3 Spout Control Panel Potash Ready Pilot Light
15 | 5 | 8 | DO | SPARE
15 | 5 | 9 | DO | SPARE
15 | 5 | 10 | DO | SPARE
15 | 5 | 11 | DO | SPARE
15 | 5 | 12 | DO | SPARE
15 | 5 | 13 | DO | SPARE
15 | 5 | 14 | DO | SPARE
15 | 5 | 15 | DO | SPARE

## Rack 15 Slot 6
Rack | Slot | IO Point | Column H | Column K | Column Q
15 | 6 | 0 | DO | SL3-BC-SV01 | Shiploader 3 Boom Washdown Solenoid Drain Valve +P683:P710
15 | 6 | 1 | DO | SL3-BC-SV02 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-G
15 | 6 | 2 | DO | SL3-BC-SV03 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-M
15 | 6 | 3 | DO | SL3-BC-SV04 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-G
15 | 6 | 4 | DO | SL3-BC-SV05 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-M
15 | 6 | 5 | DO | SL3-BC-SV06 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-G
15 | 6 | 6 | DO | SL3-BC-SV07 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-M
15 | 6 | 7 | DO | SL3-BC-SV08 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-G, 1-F
15 | 6 | 8 | DO | SL3-BC-SV09 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-M, 1-L
15 | 6 | 9 | DO | SL3-BC-SV10 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-G, 1-F
15 | 6 | 10 | DO | SL3-BC-SV11 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-M, 1-L
15 | 6 | 11 | DO | SL3-BC-SV12 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-E
15 | 6 | 12 | DO | SL3-BC-SV13 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-K
15 | 6 | 13 | DO | SL3-BC-SV14 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-E
15 | 6 | 14 | DO | SL3-BC-SV15 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-K
15 | 6 | 15 | DO | SL3-BC-SV16 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-E, 1-D
15 | 6 | 0 | DO | SPARE
15 | 6 | 1 | DO | SPARE
15 | 6 | 2 | DO | SPARE
15 | 6 | 3 | DO | SPARE
15 | 6 | 4 | DO | SPARE
15 | 6 | 5 | DO | SPARE
15 | 6 | 6 | DO | SPARE
15 | 6 | 7 | DO | SPARE
15 | 6 | 8 | DO | SPARE
15 | 6 | 9 | DO | SPARE
15 | 6 | 10 | DO | SPARE
15 | 6 | 11 | DO | SPARE
15 | 6 | 12 | DO | SPARE
15 | 6 | 13 | DO | SPARE
15 | 6 | 14 | DO | SPARE
15 | 6 | 15 | DO | SPARE

## Rack 15 Slot 7
Rack | Slot | IO Point | Column H | Column K | Column Q
15 | 7 | 0 | DO | SL3-BC-SV17 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-K, 1-J
15 | 7 | 1 | DO | SL3-BC-SV18 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-E, 1-D
15 | 7 | 2 | DO | SL3-BC-SV19 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-K, 1-J
15 | 7 | 3 | DO | SL3-BC-SV20 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-D, 1-C
15 | 7 | 4 | DO | SL3-BC-SV21 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-J, 1-I
15 | 7 | 5 | DO | SL3-BC-SV22 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-D, 1-C
15 | 7 | 6 | DO | SL3-BC-SV23 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-J, 1-I
15 | 7 | 7 | DO | SL3-BC-SV24 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-C, 1-B
15 | 7 | 8 | DO | SL3-BC-SV25 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-I, 1-H
15 | 7 | 9 | DO | SL3-BC-SV26 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-C, 1-B
15 | 7 | 10 | DO | SL3-BC-SV27 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-I, 1-H
15 | 7 | 11 | DO | SL3-BC-SV28 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-B
15 | 7 | 12 | DO | SL3-BC-SV29 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-H
15 | 7 | 13 | DO | SL3-BC-SV30 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-H
15 | 7 | 14 | DO | SL3-BC-SV31 | Shiploader 3 Boom Washdown Nozzle Spray Zone 1-B
15 | 7 | 15 | DO | SL3-BC-SV32 | Shiploader 3 Boom Washdown Solenoid supply to 1-A washdown hose
15 | 7 | 0 | DO | SPARE
15 | 7 | 1 | DO | SPARE
15 | 7 | 2 | DO | SPARE
15 | 7 | 3 | DO | SPARE
15 | 7 | 4 | DO | SPARE
15 | 7 | 5 | DO | SPARE
15 | 7 | 6 | DO | SPARE
15 | 7 | 7 | DO | SPARE
15 | 7 | 8 | DO | SPARE
15 | 7 | 9 | DO | SPARE
15 | 7 | 10 | DO | SPARE
15 | 7 | 11 | DO | SPARE
15 | 7 | 12 | DO | SPARE
15 | 7 | 13 | DO | SPARE
15 | 7 | 14 | DO | SPARE
15 | 7 | 15 | DO | SPARE

## Rack 16 Slot 0
Rack | Slot | IO Point | Column H | Column K | Column Q
16 | 0 | 0 | AI | SPARE
16 | 0 | 1 | AI | SPARE
16 | 0 | 2 | AI | SPARE
16 | 0 | 3 | AI | SPARE

## Rack 16 Slot 1
Rack | Slot | IO Point | Column H | Column K | Column Q
16 | 1 | 0 | AI | SPARE
16 | 1 | 1 | AI | SPARE
16 | 1 | 2 | AI | SPARE
16 | 1 | 3 | AI | SPARE
16 | 1 | 4 | AI | SPARE
16 | 1 | 5 | AI | SPARE
16 | 1 | 6 | AI | SPARE
16 | 1 | 7 | AI | SPARE

## Rack 16 Slot 3
Rack | Slot | IO Point | Column H | Column K | Column Q
16 | 3 | 0 | DI | SPARE
16 | 3 | 1 | DI | SPARE
16 | 3 | 2 | DI | SPARE
16 | 3 | 3 | DI | SPARE
16 | 3 | 4 | DI | SPARE
16 | 3 | 5 | DI | SPARE
16 | 3 | 6 | DI | SPARE
16 | 3 | 7 | DI | SPARE
16 | 3 | 8 | DI | SPARE
16 | 3 | 9 | DI | SPARE
16 | 3 | 10 | DI | SPARE
16 | 3 | 11 | DI | SPARE
16 | 3 | 12 | DI | SPARE
16 | 3 | 13 | DI | SPARE
16 | 3 | 14 | DI | SPARE
16 | 3 | 15 | DI | SPARE

## Rack 16 Slot 4
Rack | Slot | IO Point | Column H | Column K | Column Q
16 | 4 | 0 | DI | SPARE
16 | 4 | 1 | DI | SPARE
16 | 4 | 2 | DI | SPARE
16 | 4 | 3 | DI | SPARE
16 | 4 | 4 | DI | SPARE
16 | 4 | 5 | DI | SPARE
16 | 4 | 6 | DI | SPARE
16 | 4 | 7 | DI | SPARE
16 | 4 | 8 | DI | SPARE
16 | 4 | 9 | DI | SPARE
16 | 4 | 10 | DI | SPARE
16 | 4 | 11 | DI | SPARE
16 | 4 | 12 | DI | SPARE
16 | 4 | 13 | DI | SPARE
16 | 4 | 14 | DI | SPARE
16 | 4 | 15 | DI | SPARE

## Rack 16 Slot 5
Rack | Slot | IO Point | Column H | Column K | Column Q
16 | 5 | 0 | DI | SPARE
16 | 5 | 1 | DI | SPARE
16 | 5 | 2 | DI | SPARE
16 | 5 | 3 | DI | SPARE
16 | 5 | 4 | DI | SPARE
16 | 5 | 5 | DI | SPARE
16 | 5 | 6 | DI | SPARE
16 | 5 | 7 | DI | SPARE
16 | 5 | 8 | DI | SPARE
16 | 5 | 9 | DI | SPARE
16 | 5 | 10 | DI | SPARE
16 | 5 | 11 | DI | SPARE
16 | 5 | 12 | DI | SPARE
16 | 5 | 13 | DI | SPARE
16 | 5 | 14 | DI | SPARE
16 | 5 | 15 | DI | SPARE

## Rack 16 Slot 6
Rack | Slot | IO Point | Column H | Column K | Column Q
16 | 6 | 0 | DO | SPARE
16 | 6 | 1 | DO | SPARE
16 | 6 | 2 | DO | SPARE
16 | 6 | 3 | DO | SPARE
16 | 6 | 4 | DO | SPARE
16 | 6 | 5 | DO | SPARE
16 | 6 | 6 | DO | SPARE
16 | 6 | 7 | DO | SPARE
16 | 6 | 8 | DO | SPARE
16 | 6 | 9 | DO | SPARE
16 | 6 | 10 | DO | SPARE
16 | 6 | 11 | DO | SPARE
16 | 6 | 12 | DO | SPARE
16 | 6 | 13 | DO | SPARE
16 | 6 | 14 | DO | SPARE
16 | 6 | 15 | DO | SPARE

## Rack 16 Slot 7
Rack | Slot | IO Point | Column H | Column K | Column Q
16 | 7 | 0 | DO | SPARE
16 | 7 | 1 | DO | SPARE
16 | 7 | 2 | DO | SPARE
16 | 7 | 3 | DO | SPARE
16 | 7 | 4 | DO | SPARE
16 | 7 | 5 | DO | SPARE
16 | 7 | 6 | DO | SPARE
16 | 7 | 7 | DO | SPARE
16 | 7 | 8 | DO | SPARE
16 | 7 | 9 | DO | SPARE
16 | 7 | 10 | DO | SPARE
16 | 7 | 11 | DO | SPARE
16 | 7 | 12 | DO | SPARE
16 | 7 | 13 | DO | SPARE
16 | 7 | 14 | DO | SPARE
16 | 7 | 15 | DO | SPARE

## Rack 17 Slot 1
Rack | Slot | IO Point | Column H | Column K | Column Q
17 | 1 | 0 | DI | SPARE
17 | 1 | 1 | DI | SPARE
17 | 1 | 2 | DI | SPARE
17 | 1 | 3 | DI | SPARE
17 | 1 | 0 | AI | SL3-SP1-ZT1A | Shiploader 3 Coal Spout Dual-Axis X-Axis Inclinometer
17 | 1 | 1 | AI | SL3-SP1-ZT1B | Shiploader 3 Coal Spout Dual-Axis Y-Axis Inclinometer
17 | 1 | 2 | AI | SL3-SP1-HPU1-PIT1 | Shiploader 3 Coal Spout Chute Pressure Oil Pressure Transmitter
17 | 1 | 3 | AI | SL3-SP1-HPU1-PT2 | Shiploader 3 Coal Spout Leveling Cylinder Blind End Pressure Transmitter
17 | 1 | 4 | AI | SL3-SP1-HPU1-PT3 | Shiploader 3 Coal Spout Leveling Cylinder Rod End Pressure Transmitter
17 | 1 | 5 | AI | SL3-SP1-HPU1-PT4 | Shiploader 3 Coal Spout Left Safety Cylinder Pressure Transmitter
17 | 1 | 6 | AI | SL3-SP1-HPU1-PT5 | Shiploader 3 Coal Spout Right Safety Cylinder Pressure Transmitter
17 | 1 | 7 | AI | SPARE

## Rack 17 Slot 2
Rack | Slot | IO Point | Column H | Column K | Column Q
17 | 2 | 0 | DI | SPARE
17 | 2 | 1 | DI | SPARE
17 | 2 | 2 | DI | SPARE
17 | 2 | 3 | DI | SPARE
17 | 2 | 0 | DI | SL3-SP1-ZPX1 | Shiploader 3 Coal Spout Slew Encoder Calibration Proximity Switch
17 | 2 | 1 | DI | SL3-SP1-ZPX2 | Shiploader 3 Coal Spout Slew CW Limit Proximity Switch
17 | 2 | 2 | DI | SL3-SP1-ZPX3 | Shiploader 3 Coal Spout Slew CCW Limit Proximity Switch
17 | 2 | 3 | DI | SPARE

## Rack 17 Slot 3
Rack | Slot | IO Point | Column H | Column K | Column Q
17 | 3 | 0 | DI | SPARE
17 | 3 | 1 | DI | SPARE
17 | 3 | 2 | DI | SPARE
17 | 3 | 3 | DI | SPARE
17 | 3 | 0 | DI | SL3-CSPT-M2-ZLS1
17 | 3 | 1 | DI | SL3-CSPT-M2-ZLS2
17 | 3 | 2 | DI | SPARE
17 | 3 | 3 | DI | SPARE

## Rack 17 Slot 4
Rack | Slot | IO Point | Column H | Column K | Column Q
17 | 4 | 0 | DI | SPARE
17 | 4 | 1 | DI | SPARE
17 | 4 | 2 | DI | SPARE
17 | 4 | 3 | DI | SPARE
17 | 4 | 0 | DO | SL3-CSPT-M1-HE1
17 | 4 | 1 | DO | SPARE
17 | 4 | 2 | DO | SL3-CSPT-YL-CR | Shiploader 3 Coal Spout Spoon Motor Space Heater
17 | 4 | 3 | DO | SPARE

## Rack 17 Slot 5
Rack | Slot | IO Point | Column H | Column K | Column Q
17 | 5 | 0 | DO | SL3-SP1-HPU1-SV5A | Shiploader 3 Coal Spout Left Safety Cylinder Solenoid Valve
17 | 5 | 1 | DO | SL3-SP1-HPU1-SV5B | Shiploader 3 Coal Spout Right Safety Cylinder Solenoid Valve
17 | 5 | 2 | DO | SL3-SP1-HPU1-SV6A | Shiploader 3 Coal Spout Leveling Cylinder Extend Solenoid Valve
17 | 5 | 3 | DO | SL3-SP1-HPU1-SV6B | Shiploader 3 Coal Spout Leveling Cylinder Retract Solenoid Valve

## Rack 17 Slot 6
Rack | Slot | IO Point | Column H | Column K | Column Q
17 | 6 | 0 | DO | SPARE
17 | 6 | 1 | DO | SPARE
17 | 6 | 2 | DO | SPARE
17 | 6 | 3 | DO | SPARE

## Rack 18 Slot 1
Rack | Slot | IO Point | Column H | Column K | Column Q
18 | 1 | 0 | DI | SL3-SP2-BK1-ZPX1 | Shiploader 3 Potash Spout Hoist Motor 1 Brake Released Proximity Switch
18 | 1 | 1 | DI | SL3-SP2-ZLS1,2 | Shiploader 3 Potash Spout Carrier Material Detection Limit Switch 1 and 2
18 | 1 | 2 | DI | SL3-SP2-ZLS3 | Shiploader 3 Potash Spout Head Chute Material Detection Limit Switch
18 | 1 | 3 | DI | SPARE

## Rack 18 Slot 2
Rack | Slot | IO Point | Column H | Column K | Column Q
18 | 2 | 0 | DI | SL3-SP2-ZLS4 | Shiploader 3 Potash Spout Chute Fully Retracted Cam Switch (Winch High)
18 | 2 | 1 | DI | SL3-SP2-ZLS5 | Shiploader 3 Potash Spout Chute Fully Extended Cam Switch (Winch Low)
18 | 2 | 2 | DI | SL3-SP2-ZLS6 | Shiploader 3 Potash Spout Winch Ultimate High Lever Position Switch
18 | 2 | 3 | DI | SL3-SP2-ZLS7 | Shiploader 3 Potash Spout Slack Rope Limit Switch

## Rack 18 Slot 3
Rack | Slot | IO Point | Column H | Column K | Column Q
18 | 3 | 0 | DI | SL3-SP2-ZLS8,9 | Shiploader 3 Potash Spout Carrier Collision Detection Tilt Switches
18 | 3 | 1 | DI | SL3-SP2-WE1,2,3-A | Shiploader 3 Potash Spout Cascade Cones Strop 1, 2, 3 Chute Overweight Alarm
18 | 3 | 2 | DI | SL3-SP2-WE1,2,3-B | Shiploader 3 Potash Spout Cascade Cones Strop 1, 2, 3 Load Cell System Fault Alarm
18 | 3 | 3 | DI | SPARE

## Rack 18 Slot 4
Rack | Slot | IO Point | Column H | Column K | Column Q
18 | 4 | 0 | DI | SPARE
18 | 4 | 1 | DI | SPARE
18 | 4 | 2 | DI | SPARE
18 | 4 | 3 | DI | SPARE

## Rack 18 Slot 5
Rack | Slot | IO Point | Column H | Column K | Column Q
18 | 5 | 0 | AI | SL3-SP2-WE1,2,3 | Shiploader 3 Potash Spout Cascade Cones Strop 1, 2, 3 Strain Gauge
18 | 5 | 1 | AI | SPARE
18 | 5 | 2 | AI | SPARE
18 | 5 | 3 | AI | SPARE
18 | 5 | 4 | AI | SPARE
18 | 5 | 5 | AI | SPARE
18 | 5 | 6 | AI | SPARE
18 | 5 | 7 | AI | SPARE

## Rack 18 Slot 6
Rack | Slot | IO Point | Column H | Column K | Column Q
18 | 6 | 0 | DO | SL3-SP2-M1-HE1 | Shiploader 3 Potash Spout Hoist Motor 1 Space Heater
18 | 6 | 1 | DO | SL3-SP2-BK1 | Shiploader 3 Potash Spout Hoist Motor 1 Brake
18 | 6 | 2 | DO | SPARE
18 | 6 | 3 | DO | SPARE